## IAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-IAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
IAWG | K161 | Anions in Seawater | NIM | 2021 |  |  |  |  | Parallel PS is being planned. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K162 | Selenoproteins and Total Selenium in Human Serum | LGC/NIST | 2022 |  |  |  |  | Parallel PS is being planned. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG/SAWG | K166 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | LGC | 2022 |  |  |  |  | In parallel with CCQM-P210. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K158 | Measurement of a range of spiked and natural elements in rice material in addition to Sr (with natural isotope ratios), associated Rb and inorganic As | KRISS/NMIJ | 2021 |  |  |  |  | In parallel with CCQM-P200. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
EAWG/IAWG | K173 | Back titration of sodium carbonate | NIM/UNIIM | 2021 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
EAWG/IAWG | K169 | Assay of sodium oxalate | NMIJ | 2024 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K178 | Rare earth elements, uranium, and thorium in soil | USI/UME | 2024 |  |  |  |  | In parallel with CCQM-P223. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Water |  | 2023 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Nanoparticle number concentration |  | 2021 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High silica content |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High volatile matrices |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High salts content |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High organics content |  | 2023 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K187 | Elements in pork | KRISS | 2024 |  |  |  |  | In parallel with CCQM-P240. Benchmark comparison, intended to encourage broad participation, even amongst IAWG institutes that do not normally participate. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K188 | Elements in particulate matter | KRISS | 2025 |  |  |  |  | In parallel with CCQM-P241. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K191 | Nonmetallic and metallic impurities in copper | NRC/CENAM | 2025 |  |  |  |  | In parallel with CCQM-P245. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Water mass fraction measurements in crystallohydrates | VNIIM-UNIIM | 2025 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Sulfur in (bio)diesel | UME | 2026 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Arsenic in seafood | GLHK | 2026 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Preparation of calibration solutions | NIST | 2026 |  |  |  |  | Model 2. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Elements in metal alloy | TBD | 2027 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | CCQM-P196 | Elements and Tributyl Tin in Seawater | UME/GLHK | 2019 |  |  |  |  | In parallel with CCQM-K155
IAWG | CCQM-P203 | Platinum Group Elements in Automotive Catalyst | LGC | 2021 |  |  |  |  | In parallel with CCQM-K160
IAWG | CCQM-P207 | Anions in Seawater | NIM | 2021 |  |  |  |  | In parallel with CCQM-K161
IAWG | CCQM-P208 | Selenoproteins and Total Selenium in Human Serum | LGC/NIST | 2022 |  |  |  |  | In parallel with CCQM-K162
IAWG/SAWG | CCQM-P210 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | LGC | 2022 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | In parallel with CCQM-K166
IAWG | CCQM-P200 | Measurement of a range of spiked and natural elements in rice material in addition to Sr (with natural isotope ratios), associated Rb and inorganic As | KRISS/NMIJ | 2021 |  |  |  |  | In parallel with CCQM-K158
IAWG | CCQM-P215 | Arsenic speciation in seafood (aquatic animals) | GLHK | 2022
IAWG | CCQM-P223 | Rare earth elements, uranium, and thorium in soil | JSI/UME | 2023 | IAWG | IAWG | IAWG | IAWG | In parallel with CCQM-K178. CCRI(II) is invited to participate in the pilot study.
IAWG | CCQM-P240 | Elements in pork | KRISS | 2024 |  |  |  |  | In parallel with CCQM-K187
IAWG | CCQM-P241 | Elements in particulate matter | KRISS | 2025 |  |  |  |  | In parallel with CCQM-K188
IAWG | CCQM-P245 | Nonmetallic and metallic impurities in copper | NRC/CENAM | 2025 |  |  |  |  | In parallel with CCQM-K191
IAWG |  | Solid sample analysis by LA-ICP-MS | NIM and/or LGC | 2025 |  |  |  |  | Might be just a pilot study with no key comparison; still to be decided
IAWG |  | Elements in (bio)diesel | UME | 2026 |  |  |  |  | In parallel with a KC
IAWG |  | Arsenic in seafood | GLHK | 2026 |  |  |  |  | In parallel with a KC
IAWG |  | Preparation of calibration solutions | NIST | 2026 |  |  |  |  | In parallel with a KC
IAWG |  | Elements in metal alloy | TBD | 2027 |  |  |  |  | In parallel with a KC
Note on J7: ahenson: Link back to the main strategy document

## OAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-OAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparisons including on going BIPM comparisons
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
OAWG | CCQM-K154.e | Mass Fraction of ochratoxin A in calibration solution | BIPM/NRC | 2023 | Planned | Run in parallel to CCQM-P121 |  |  | The BIPM Capacity and Knowledge Transfer Program involves measurements for aflatoxins in calibration solutions. CCQQM-K154.e for ochratoxin A in acetonitrile calibration solutions is a Track C Model 2 comparison.
OAWG | CCQM-K148.c | Purity assessment of high purity organic materials: Large MW | BIPM | 2023 | Planned | Run in parallel with CCQM-P148 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. The BIPM has been coordinating the series of KCs underpinning organic purity assessment (the K55 series). It was decided at the April 2016 OAWG meeting to converge the 4 segments of this measurement space for organic purity into two with the mass range extended to 500 and the two areas differentiated by differing polarities of the analyte. This was felt to better reflect the differences in capabilities needed. The capabilities needed in the larger mass range of 500-1000 was felt to be less differentiated by polarity and thus this comparison will extend the mass range to 500-1000 and will thus underpin the capabilities needed to provide services for these larger organic calibrators.

## EAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-EAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
EAWG | CCQM-Kxx | tris/seawater pH | NIST/LNE | 2024 | (ISE?, DO) |  |  |  | new important area to support the estbalishment of service structures in oceanography, also see EAWG strategy
EAWG | CCQM-K96.20xx | Assay of potassium dichomate | KRISS | 2023 |  |  |  |  | repeat comparison of K96 to maintain support for respective CMCs | started
EAWG | CCQM-Kxxx | pH core buffer (tetroxalate) | tbd | 2024 |  |  |  |  | comparison to support CMCs releated core capabilities (track A)
EAWG | CCQM-Kxxx | Assay of EDTA | tbd | 2025 |  |  |  |  | provision of CRM, also see EAWG strategy
EAWG | CCQM-K-xxx | Conductivity at 0.05 & 5 S/m | tbd | 2025 |  |  |  |  | support for CMCs, also see EAWG strategy
EAWG | CCQM-Pxx | Impedance spetroscopy study | PTB/INM | 2023 |  |  |  |  | scientific base | started
EAWG | CCQM-Pxx | pH buffer with pH>11 | PTB/INM | 2025 |  |  |  |  | provision of respective metrological services in this pH range, also see EAWG strategy

## SAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-SAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
SAWG | CCQM-P XYZ | Surface Elemental Composition of Ionic Liquids | BAM/NPL | 2023
SAWG | CCQM-K XYZ | Comparison to underpin a key enabling technology in the field of Nanotechnology (to be defined following stakeholder demands). | to be defined | 2024 |  |  |  |  | Comparability of measurement capability at NMI/DI to relevant for new products based on nanotechnology
SAWG | CCQM-K XYZ | Comparison to underpin a Raman spectroscopy (to be defined following stakeholder demands). | to be defined | 2025 |  |  |  |  | Comparability of measurement capability at NMI/DI to relevant for new products based on nanotechnology

## GAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-GAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Estimate of resouces in person months (PM) for piloting and particpating (per particpant) | Rational for Key Comparison
GAWG | BIPM.QM-K1 | ozone at ambient level | BIPM | 2007 - ongoing | Approved for Equivalence |  | Yes | BIPM QM K1 Reports |  | Track C - atmospheric and air quality
GAWG | BIPM.QM-K2 | CO2 at ambient level in air | BIPM | 2024 - ongoing | [5 empty] | Track A/C - atmospheric observations of carbon dioxide
GAWG | CCQM-K84.2023 | CO in air (350 nmol mol-1) | NOAA | 2024 | [5 empty] | Track C - atmospheric and air quality
GAWG | BIPM.QM-K6 | NO2 in nitrogen | BIPM | 2024 | [5 empty] | Track C - atmospheric and air quality
GAWG | Kxxx | C and O isotope ratio in pure CO2 | BIPM | 2025 | [5 empty] | Track C - atmospheric and air quality
GAWG | Kxxx | Carbon Capture Utilisation and Storage | NPL | 2025 | [5 empty] | Track C - Energy Transition
GAWG | CCQM-K15.2025 | Emissions SF6 | KRISS | 2025 | [5 empty] | Track C - atmospheric and air quality
GAWG | K26a.2025 | Ambient NO | NPL | 2025 | [5 empty] | Track C - atmospheric and air quality
GAWG | KXXX | VOCs | TBC | 2026 | [5 empty] | Track C - atmospheric and air quality
GAWG | PXXX | C and O isotope ratio from carbonates | BIPM | 2026 | [5 empty] | Track D - atmospheric and air quality
GAWG | K76.2026 | SO2 (100 µmol mol-1) | NIM | 2026 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases
GAWG | CCQM-K116.2027 | water vapour in nitrogen (1 µmol mol-1) | NPL | 2027 | [5 empty] | Track C - process gases and advanced manufacturing
GAWG | BIPM.QM-K4 | C and O isotope ratio (CO2 in air) | BIPM | 2029 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | BIPM.QM-K5 | ambient CO2 in air scales | BIPM | 2026 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | CCQM-K65.2026 | Odorants (expanded to include H2S COS, THT, and mercaptans) | VSL | 2026 | [5 empty] | Track C - energy gases
GAWG | CCQM-K83.2027 | Halocarbons | ? | 2027 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K90.2027 | formaldehyde in nitrogen (1 μmol mol-1) | tbc | 2027 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K137.2027 | NO in nitrogen (30-70 μmol mol-1) | tbc | 2027 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track C - air quality and atmospheric
GAWG | Pxxx | particle size | ? | 2027 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track D - Air quality - particle measurements
GAWG | CCQM-K112.2028 | biogas | VSL | 2028 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track C - energy transition
GAWG | BIPM.QM-K3 | C and O isotope ratio in pure CO2 | BIPM | 2028 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | CCQM-K53.2028 | O2 in nitrogen | tbc | 2028 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases
GAWG | K117.2028 | Ammonia in nitrogen | tbc | 2028 | [5 empty] | Track C
GAWG | K121.2029 | Monoterpenes in nitrogen | tbc | 2029 | [5 empty] | Track C
GAWG | K119.2029 | LPG | tbc | 2029 | BIPM | 2 |  |  |  | Track C
GAWG | K113.2029 | Noble gases | tbc | 2029 | tbc | 1 |  |  |  | Track C
GAWG | K10.2030 | BTEX | tbc | 2030 | [5 empty] | Track C
GAWG | K68.2030 | ambient N2O | tbc | 2030 | [5 empty] | Track C
GAWG | CCQM-K118.2031 | Natural Gas | tbc | 2031 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track C - energy gases
GAWG | K111.2031 | Propane | tbc | 2031 | [5 empty] | Track A
GAWG | K41.2032 | Hydrogen Sulphide | tbc | 2032 | [5 empty] | Track C
GAWG | K165.2033 | Dimethyl Sulphide | tbc | 2033 | [5 empty] | Track C
GAWG | K3.2034 | Automotive gases | tbc | 2034 | [5 empty] | Track A
Note on J7: ahenson: Resources in person months - assume basic capability exists, but include specific work necessary in preparation and set up, making the measurements, reviewing and reporting results. If basic capability does NOT exist add additional comment and estimate of additional resource
Note on K7: ahenson: Link back to the main strategy document

## PAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-PAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison | Status
PAWG | CCQM-K163 | Activity of alpha amylase in human serum | NIM/IFCC | TBD | Planned |  |  |  | Protein measurement - underpinning capability | Planned
PAWG | CCQM-K115.d | Peptide purity - PTH | BIPM | 2024 |  |  |  |  | Protein measurement - underpinning capability | In progress
PAWG | CCQM-Kxxxx | Determination of amount-of-substance fraction of hemoglobin A1c (HbA1c) in human hemolysate | HSA and others | 2025 or 2026 |  |  |  |  | Protein measurement - underpinning capability , follow-up of CCQM-P219 | planned
PAWG | CCQM-P55.d | Peptide purity - PTH | BIPM | 2023 |  |  |  |  | Run in parallel to KC | Study starts at the beginning of 2023

## NAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-NAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
NAWG | Kx/Px | Bacterial examination and measurement study | NIB/VNIIM/NML@LGC | 2025 |  |  |  |  | Initiate competence development in bacterial nucleic acid measurement
NAWG | Kx/Px | Orthogonal study | NMIA | 2025/26 |  |  |  |  | Provide routes for demonstrating competencies using orthogonal methods to provide alternative methods for SI traceable measurements of Nucleic Acid sequences
NAWG | Kx/Px | CfDNA measuremnent | KRISSNIM/NML@LGC | 2025/26 |  |  |  |  | Extend capabilities underpined by K176 to cell free DNA
NAWG

## CAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-CAWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison | Status | Comments
CAWG | CCQM-P197 | Proliferative mesenchymal stromal cell number per unit area | NPL | 2024 |  |  |  |  | Extends complexity cell measurand for differential cell counting on 2D surfaces | Study lead to update participants (Dec 23) for study start early 2024 | Study commencement awaited
CAWG / IAWG | CCQM-P222 | Number concentration measurement of particles for cellular analysis | NMIJ / PTB | 2024 |  |  |  |  | Seeks to establish metrological traceability for particles used in cellular analysis (number concentration measurements) and instrument calibration (ie. Flow cytometry) | On hold | Delayed due to international situation. Awaiting feedback from NMIJ about whether the lead lab could consider moving the project forward with Russian participation in a bilateral comparison
CAWG | CCQM-Pxxx | Quantification of CD4+ and CD8+ cells expressing interferon gamma | NIBSC/NIST/LGC | 2021 |  |  |  |  | under consideration | Planning | Study delayed in favour of simple cell counting study using the same study materials.

## IRWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-IRWG | Colour codes: | KC Planned
Date updated | 2025-01-17
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Rational for Key Comparison | Status
IRWG | CCQM-K167/-P211 | Carbon isotope delta relative to the Vienna Peedee Belemnite | NRC | 2019 | completed | Run in parallel to CCQM-K167
IRWG | CCQM-P212 | Carbon isotope delta measurements of various internatonal reference materials, and the sample NRC Vanillin, relative to the in-house CO2 reference gas | NRC | 2019 | completed
IRWG | CCQM-P213 | Delta copper isotope ratio measurements in high purity materials | NRC, NIST, BAM and PTB | 2020 | measurements underway
IRWG | K/P | Carbon and Nitrogen isotope delta measurements in combustable metarials | IAEA, NIST | 2025 | in strategic plan, Nitrogen is the next light istope after carbon to be covered
IRWG | K/P | Sr istope ratio measurement in matrix material | NIM China | 2026 | in strategic plan, addressing isotope ratio measuement at trace level anayltes in a matrix

## MBSG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-MBSG | Colour codes: | KC Planned
Date updated | 2016-12-01 | (The Group was closed as of April 2016.)
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Status Update | Rational for Key Comparison

## BAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-BAWG | Colour codes: | KC Planned
Date updated | 2016-06-30 | (There is no need to update this spreadsheet. It is kept as a record of our past activities.)
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
BAWG | CCQM-P137 | Clinical amylase measurement | NIMC | 2014 | PLANNED |  | No |  | Enzyme activity (catalytic concentration) - clinical requirement
BAWG | BAWG-pre003 | Hydrolysis optimisation to reduce uncertainty of peptide/protein MS measurement | NIST | 2014 | Planning |  |  |  | Protein measurement - underpinning capability
BAWG | CCQM-P155 | Multiple cancer cell biomarker measurement | LGC | 2014 |  |  |  |  | Nucleic acid measurement - clinical requirement
BAWG | CCQM-P164 | hGH quantification in serum | PTB | 2015 |  |  |  |  | Protein measurement - clinical requirement
BAWG | CCQM-P165 | quantification of CD34+ cell counts | NIST/PTB/NIBSC | 2014 |  |  |  |  | Cell measurement - underpinning capability
BAWG | CCQM-K134 | Relative quantification of genomic DNA fragments extracted from oil matrix (OSR) | IRMM | 2015 | Planned
BAWG | CCQM-K135 | Relative quantification of genomic DNA fragments extracted from starch matrix (rice) | NIMC/GLHK | 2015 | Planned