## OAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-OAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparisons including on going BIPM comparisons
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
OAWG | CCQM-K159 | Amino Acids in plasma | LGC | 2020-07-01 | Planned | Run in parallel with CCQM-P148 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. This measurement area for this KC will be the clinical area to align with the OAWG 10-year plan. The model system selected for this comparison is amino acids in plasma.
OAWG | CCQM-KXX | Zearalenone in maize | NIM | 2020-09-01 | Planned | Run in parallel with CCQM-P148 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. This measurement area for this KC will be the high carbohydrate food area to align with the OAWG 10-year plan. The exact model system was selected for this comparison at the April 2019 OAWG meeting and this is zearalenone in maize.
OAWG | CCQM-K154.b | Mass Fraction of aflatoxin B1 in calibration solution | BIPM | From Oct 20 | Planned | Run in parallel to CCQM-P121 |  |  | The BIPM Capacity and Knowledge Transfer Program completed measurements for its first key comparison, CCQM-K154.a for zearalenone calibration solutions as a Track C Model 2 comparison, in 2018. The next in this series is CCQM-K154.b looking at another mycotoxin analyte, alflatoxin B1.
OAWG | CCQM-K78.b | Mass Fraction of Organic Calibration Solutions - pesticides in organic solution - trifluralin and methoxychlor | BIPM | 2021 | Planned | Run in parallel to CCQM-P121 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. Two comparisons for polar and nonpolar analytes have been coordinated (CCQM-K78 and K131). This will follow on from these KCs and two pesticides, trifluralin and methoxychlor, in organic solvent have been selected..
OAWG | CCQM-K148.b | Purity assessment of high purity organic materials: MW 100-500, polar analyte | BIPM | 2022 | Planned | Run in parallel with CCQM-P148 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. The BIPM has been coordinating the series of KCs underpinning organic purity assessment (the K55 series). This was planned to be the first repeat of the original K55c KC covering a similar measurement space. It was decided at the April 2016 OAWG meeting to converge the 4 segments of this measurement space for organic purity into two with the mass range extended to 500 and the two areas differentiated by differing polarities of the analyte. This was felt to better reflect the differences in capabilities needed, thus this represents a repeat of K55.c and K55.d.
OAWG | CCQM-K148.c | Purity assessment of high purity organic materials: Large MW | BIPM | 2023 | Planned | Run in parallel with CCQM-P148 |  |  | The OAWG established a planned series of 10 "Track A'" KCs to cover all of the basic organic competencies. The BIPM has been coordinating the series of KCs underpinning organic purity assessment (the K55 series). It was decided at the April 2016 OAWG meeting to converge the 4 segments of this measurement space for organic purity into two with the mass range extended to 500 and the two areas differentiated by differing polarities of the analyte. This was felt to better reflect the differences in capabilities needed. The capabilities needed in the larger mass range of 500-1000 was felt to be less differentiated by polarity and thus this comparison will extend the mass range to 500-1000 and will thus underpin the capabilities needed to provide services for these larger organic calibrators.
OAWG | CCQM-P202 | Amino acids in plasma | LGC | 2020-07-01 | Planned | Run in parallel with CCQM-P148 |  |  | Key Comparison 159 will be accompanied by Pilot Study P202 (the same study material will be used)
OAWG | CCQM-P214 | Zearalenone in maize | NIM | 2020-09-01 | Planned | Run in parallel with CCQM-P148 |  |  | Key Comparison 168 will be accompanied by Pilot Study P214 (the same study material will be used)
OAWG | CCQM-P121.b | Mass Fraction of Organic Calibration Solutions - pesticides in organic solution - trifluralin and methoxychlor | BIPM | 2021 | Planned | Run in parallel with CCQM-P148 |  |  | Key Comparison 78.a will be accompanied by Pilot Study P121.b (the same study material will be used)

## IAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-IAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
IAWG | K161 | Anions in Seawater | NIM | 2021 |  |  |  |  | Parallel PS is being planned. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K162 | Selenoproteins and Total Selenium in Human Serum | LGC/NIST | 2021 |  |  |  |  | Parallel PS is being planned. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG/SAWG | K166 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | LGC | 2021 |  |  |  |  | In parallel with CCQM-P210. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | K158 | Measurement of a range of spiked and natural elements in rice material in addition to Sr (with natural isotope ratios), associated Rb and inorganic As | KRISS/NMIJ | 2021 |  |  |  |  | In parallel with CCQM-P200. This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
EAWG/IAWG | K173 | Back titration of sodium carbonate | NIM/UNIIM | 2021 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
EAWG/IAWG | K169 | Assay of sodium oxalate | NMIJ | 2020 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Water |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | Nanoparticle number concentration |  | 2021 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High silica content |  | 2021 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High volatile matrices |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High salts content |  | 2022 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG |  | High organics content |  | 2023 |  |  |  |  | This comparison is part of the IAWG strategy to meet NMI/DI needs in the most efficient and effective manner, organising an average of three key comparisons each year. This is achieved through a combination of conventional and ‘core capabilities’ key comparisons. Conventional key comparisons (with ‘how far does the light shine?’ statements) support CMCs for calibration solutions and standards. This is essential because these CMCs underpin calibrations directly within NMIs and indirectly in field laboratories; reliability of the claimed uncertainties is critical. The ‘core capabilities’ approach is used for complex matrix samples (which form the bulk of inorganic CMCs) in order to minimize the number of key comparisons needed to support the full range of matrices and analytes. Each core capability is focused on an analytical challenge rather than how it is overcome, e.g. ‘contamination control and correction’ rather than ‘use of a clean room’, and the sample preparation stage and the end measurement technique are considered as an entity. Hence, in planning a forward programme of comparisons more emphasis is placed on addressing all required matrix types than in identifying specific analytes.
IAWG | CCQM-P196 | Elements and Tributyl Tin in Seawater | UME/GLHK | 2019 |  |  |  |  | In parallel with CCQM-K155
IAWG | CCQM-P203 | Platinum Group Elements in Automotive Catalyst | LGC | 2020 |  |  |  |  | In parallel with CCQM-K160
IAWG | CCQM-P207 | Anions in Seawater | NIM | 2021 |  |  |  |  | Parallel KC is being planned
IAWG | CCQM-P208 | Selenoproteins and Total Selenium in Human Serum | LGC/NIST | 2021 |  |  |  |  | Parallel KC is being planned
IAWG/SAWG | CCQM-P210 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | LGC | 2021 | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | Measurement of Nanoparticle Number Concentration in Liquid Suspension | In parallel with CCQM-K166
IAWG | CCQM-P200 | Measurement of a range of spiked and natural elements in rice material in addition to Sr (with natural isotope ratios), associated Rb and inorganic As | KRISS/NMIJ | 2021 |  |  |  |  | In parallel with CCQM-K158
IAWG | CCQM-P215 | Arsenic speciation in seafood (aquatic animals) | GLHK | 2022
IAWG |  | Non-metallic Impurities in High-purity Metals | NRC/CENAM | 2021
IAWG |  | Solid sample analysis by LA-ICP-MS | LGC | 2022
Note on J7: ahenson: Link back to the main strategy document

## GAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-GAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Estimate of resouces in person months (PM) for piloting and particpating (per particpant) | Rational for Key Comparison
GAWG | CCQM-K112 | Biogas | VSL | 2014 | [5 empty] | Track C - energy gases |  | published
GAWG | BIPM.QM-K1 | ozone at ambient level | BIPM | 2007 - ongoing | Approved for Equivalence |  | Yes | BIPM QM K1 Reports |  | Track C - atmospheric and air quality | approved by CCQM
GAWG | CCQM-K117 | NH3 | VSL and NIST | 2016 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - atmospheric and air quality | approved by CCQM
GAWG | CCQM-K118 | Natural gas | VSL and BAM | 2016 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - energy gases | approved by CCQM
GAWG | CCQM-K120a | ambient CO2 (380 to 480 µmol mol-1) | BIPM and NIST | 2016 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - atmospheric and air quality | approved by CCQM | now published
GAWG | CCQM-K120b | ambient CO2 (480 to 800 µmol mol-1) | BIPM and NIST | 2016 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track A - atmospheric and air quality | approved by CCQM | now published
GAWG | CCQM-K137 | NO in nitrogen, (30-70 µmol mol-1) | BIPM | 2017 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - air quality and atmospheric | approved by CCQM | published
GAWG | CCQM-K41.2017 | H2S in nitrogen (10 µmol mol-1) | KRISS | 2017 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - atmospheric and air quality repeat of CCQM-K41 | approved by CCQM
GAWG | CCQM-K150 | KC (Micro-scale particles, number/charge concentration) | PTB and NPL | 2017 | [5 empty] | Track C - atmospheric and air quality particulate | approved by CCQM
GAWG | CCQM-P189 | PS (Micro-scale particles, number/charge concentration) | PTB and NPL | 2017 | [5 empty] | Track D - parallel study with CCQM-K150 for TROPOS | approved by CCQM
GAWG | CCQM-K74.2018 | KC (NO2 in Nitrogen, 10 µmol mol-1) | BIPM | 2018 | Planned | Run in parallel to CCQM-K88 |  |  |  | Track C - atmospheric and air quality Repeat KC of CCQM-K74 in 2018 | approved by CCQM
GAWG | CCQM-P172 | PS (NO2 in Nitrogen, 10 µmol mol-1, spectroscopic impurity study by FTIR) | BIPM | 2018 | [5 empty] | Track D - spectroscopic study of HNO3, NO, etc. as impurities in NO2 in nitrogen | approved by CCQM
GAWG | CCQM-K10.2018 | BTEX in nitrogen (5 nmol mol-1) | NIST | 2018 | Planned | Run in parallel to CCQM-K94 |  |  |  | Track C - air Quality/New emerging requirements, 6 components (B,T,EB,o-,m-,p-X) | approved by CCQM
GAWG | CCQM-K3.2019 | automotive gases: CO, CO2, C3H8, O2 in nitrogen | VSL | 2019 | Planned | Run in parallel to CCQM-K90 |  |  |  | Track A - atmospheric and air quality, automotive exhaust gases | approved by CCQM
GAWG | CCQM-K68.2019 | ambient N2O in air | BIPM and KRISS | 2019 | Planned | Run in parallel to CCQM-K92 |  |  |  | Track C - atmospheric and air quality | approved by CCQM
GAWG | CCQM-P206 | ambient N2O in air | BIPM and KRISS | 2019 | Planned | Run in parallel to CCQM-K92 |  |  |  | Track D - atmospheric and air quality | approved by CCQM
GAWG | CCQM-K26b.2019 | SO2 300 in air (nmol mol-1) | NPL | 2019 | Planned | Run in parallel to CCQM-K95 |  |  |  | Track C - atmospheric and air quality | approved by CCQM
GAWG | CCQM-P204 | PS (carbon/oxygen isotope ratios in CO2 ) | BIPM and IAEA | 2020 | Planned | Run in parallel to CCQM-K98 |  |  |  | Track D - atmospheric and air quality | approved by CCQM
GAWG | CCQM-K164 | hydrogen purity | NPL | 2020 | [5 empty] | Track C - hydrogen fuel cell vehicles | approved by CCQM
GAWG | CCQM-K165 | DMS in nitrogen (5 nmol mol-1) | KRISS | 2020 | [5 empty] | Track C - atmospheric and air quality | approved by CCQM
GAWG | CCQM-KXX | HCl in nitrogen (30 µmol mol-1) | KRISS | 2021 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-KXX | oxygenated VOCs in nitrogen (5 μmol mol-1) | VSL | 2021 | [5 empty] | Trak C -atmospheric and air quality
GAWG | BIPM.QM-K2 | CO2 at ambient level in air | BIPM | 2022 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | BIPM.QM-K3 | C and O isotope ratio in pure CO2 | BIPM | 2022 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | BIPM.QM-K4 | C and O isotope ratio (CO2 in air) | BIPM | 2022 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | BIPM.QM-K5 | ambient CO2 in air scales | BIPM | 2022 - ongoing | [5 empty] | Track C - atmospheric observations of carbon dioxide
GAWG | CCQM-K171 | CO in nitrogen (100 µmol mol-1) | tbc | 2022 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases | approved by CCQM
GAWG | CCQM-KXX | pilot study (Nano and micro-scale particles) | tbc | 2020 | [5 empty] | Track D - atmospheric and air quality
GAWG | CCQM-K82.2023 | ambient methane in air | BIPM | 2023 | [5 empty] | Track C -atmospheric and air quality
GAWG | CCQM-K84.2023 | CO in air (350 nmol mol-1) | tbc | 2023 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K93.2023 | Ethanol in nitrogen | NPL | 2023 | [5 empty] | Track C - breath alcohol
GAWG | CCQM-KXX | ambient SF6 | KRISS | 2024 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K111.2025 | propane in nitrogen (1000 µmol mol-1) | VSL | 2025 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases
GAWG | K74.2024 | NO2 in nitrogen | [7 empty] | Track C - atmospheric and air quality
GAWG | CCQM-KXXX | CH4 (100 µmol mol-1) | tbc | 2025 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases
GAWG | CCQM-K116.2025 | water vapour in nitrogen (1 µmol mol-1) | NPL | 2025 | [5 empty] | Track C - process gases and advanced manufacturing
GAWG | CCQM-KXX | carbon/oxygen isotope ratios in CO2 | BIPM and IAEA | 2023 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K90.2026 | formaldehyde in nitrogen (1 μmol mol-1) | BIPM | 2027 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K120.2026 | ambient CO2 in air | BIPM | 2026 | Planned | Run in parallel to CCQM-K87 |  |  |  | Track C - atmospheric observations of carbon dioxide
GAWG | CCQM-K68.2027 | ambient N2O in air | BIPM | 2027 | [5 empty] | Track C - atmospheric and air quality
GAWG | CCQM-K137.2027 | NO in nitrogen (30-70 μmol mol-1) | BIPM | 2027 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track C - air quality and atmospheric
GAWG | CCQM-K118.2027 | Natural Gas | tbc | 2027 | Planned | Run in parallel to CCQM-K102 |  |  |  | Track C - energy gases
GAWG | CCQM-K53.2028 | O2 in nitrogen | tbc | 2028 | [5 empty] | Track A - atmospheric and air quality, automotive exhaust gases
GAWG | K117.2028 | Ammonia in nitrogen | tbc | 2028 | [5 empty] | Track C
GAWG | K121.2028 | Monoterpenes in nitrogen | tbc | 2029 | [5 empty] | Track C
GAWG | K119.2029 | LPG | tbc | 2029 | BIPM | 2 |  |  |  | Track C
GAWG | K113.2029 | Noble gases | tbc | 2029 | tbc | 1 |  |  |  | Track C
GAWG | tbc | Odorants | tbc | 2030 | [5 empty] | Track C
GAWG | K10.2030 | BTEX | tbc | 2030 | [5 empty] | Track C
GAWG | K68.2030 | N2O | tbc | 2030 | [5 empty] | Track C
Note on J7: ahenson: Resources in person months - assume basic capability exists, but include specific work necessary in preparation and set up, making the measurements, reviewing and reporting results. If basic capability does NOT exist add additional comment and estimate of additional resource
Note on K7: ahenson: Link back to the main strategy document

## EAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-EAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
EAWG | CCQM-Kxx/Pxx | tris/seawater pH | NIST/LNE | 2021 | (ISE?, DO) |  |  |  | new important area to support the estbalishment of service structures in oceanography
EAWG | CCQM-K170 | el. conductivity at 0.5 and 20 S/m | DFM | 2020 |  |  |  |  | repeat comparison of K36.a and K92
EAWG/IAWG | CCQM-K169 | assay of sodium oxalate | NMIJ | 2022 |  |  |  |  | underpinning capabilities in reductant measurement
EAWG/IAWG | CCQM-Kxx | back titration of Na2CO3 | NIM/UNIIM | 2021 |  |  |  |  | underpinning capabilities in base measurement
EAWG | CCQM-K17.202x | pH of phthalate buffer (K17+ K91 repeat) | tbd | 2022 |  |  |  |  | repeat comparison - extended capability
EAWG | CCQM-Pxx | Impedance spetroscopy study | PTB/INM | tbd |  |  |  |  | scientific base

## SAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-SAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
SAWG | CCQM-P XYZ | Amount of substance in a shell for a core-shell engineered nanoparticle | BAM/NPL | postponed! |  |  |  |  | Toxic properties and technical performance of engineered nanoparticles are most often defined by the shell chemistry. Comparability of measurement capability at NMI/DI to address shell chemistry and thickness for core-shell nanoparticles. KC is based on dissemination of particles results of the EMPIR Project Innanopart (launched in 2015) expexted not before 2017
SAWG | CCQM-K153 | Amount of physisorbed N2 and Kr on nonporous SiO2 | UNIIM/BAM | finished |  |  |  |  | BET specific surface area in nonporous solids determined by measurement of the amount of physisorbed N2 and Kr is a highly relevant parameter because they are often used for the specification of the vast majority of materials and substances (ceramic, cement, etc) used in advanced technology. To check the comparability of measurement protocols at NMIs and DIs adressing the BET specific surface of technologically relevant nonporous solids a Key comparison is launched by the Surface Analysis Working Group at CCQM/BIPM. | Finished. Remove from this sheet?
SAWG | CCQM-K157 | Thickness measurement of HfO2 Films | KRISS | 2020 | Planned |  |  |  | Comparability of measurement capability at NMI/DI to relevant for advanced devices in semiconductor industry | Started. Remove from this sheet?
SAWG | CCQM-K172 | Measurement of Specific Adsorption (mol/kg) of Ar on zeolite at 87 K to enable a tracebilite specific surface area | UNIIM | 2020 |  |  |  |  | specific surface area and pore size microporous solids are highly relevant parameters because they are often used for the specification of the vast majority of porous materials and substances (sorbents, catalytic agents, cross-linkers, zeolites, etc) used in advanced technology. The study meets the decision criteria of the TG final report (CCQM19-43). | Started. Remove from this sheet?
SAWG | CCQM-P XYZ | Amount of substance in a buried organic layer | NPL | 2021 |  |  |  |  | Comparability of measurement capability at NMI/DI relevant for F&E and quality management for organic photovoltaic devices organic light emitting diodes and organic electronics
SAWG | CCQM-K XYZ | Amount of substance of chemical species in a shell for an industrially highly relevant core-shell engineered nanoparticle | NPL | postponed |  |  |  |  | Comparability of measurement capability at NMI/DI to address shell chemistry and thickness for core-shell nanoparticles
SAWG | CCQM-K XYZ | Comparison to underpin a key enabling technology in the field of Nanotechnology (to be defined following stakeholder demands). | to be defined | 2021 |  |  |  |  | Comparability of measurement capability at NMI/DI to relevant for new products based on nanotechnology
SAWG | CCQM-K XYZ | Comparison to underpin a key enabling technology in the field of Nanotechnology (to be defined following stakeholder demands). | to be defined | 2023 |  |  |  |  | Comparability of measurement capability at NMI/DI to relevant for new products based on nanotechnology

## PAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-PAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison | Status
PAWG | CCQM-K115.b | Peptide purity - synthetic oxytocin (OXT) | BIPM/NIMC | 2018 |  |  |  |  | Protein measurement - underpinning capability | Study will be finished at the end of 2018
PAWG | CCQM-K115.c | Peptide purity - synthetic glycated hexapeptide of HbA1c (GE) | BIPM/NIMC/HSA | 2019 | Planned | Run in parallel with CCQM-P55.2.c |  |  | Protein measurement - underpinning capability | Study starts at the middle of 2019
PAWG | CCQM-K115.2018 | Peptide purity - synthetic hexapeptide of HbA0 (VE) | BIPM/NIMC/HSA | 2019 | Planned | Run in parallel with CCQM-P55.2.2018 |  |  | Protein measurement - underpinning capability | Study starts at the middle of 2019
PAWG/IAWG | CCQM-K151 | determination of the amount content of a purity-assessed recombinant protein in an aqueous calibration solution | KRISS | 2017 | Planned | Run in parallel with CCQM-P191 |  |  | Protein measurement - underpinning capability (AAA procedure) | Study successfully finished in Oct. 2018
PAWG | CCQM-Kxxx | Peptide purity - PTH | BIPM | 2021 |  |  |  |  | Protein measurement - underpinning capability | Study starts at the beginning of 2021
PAWG | CCQM-Kxxx | determination of enzymatic activity | NIM | 2021 |  |  |  |  | Protein measurement - underpinning capability | Study starts at the beginning of 2021
PAWG | BAWG-pre003 | Hydrolysis optimisation to reduce uncertainty of peptide/protein MS measurement | NIST | 2014 | Planning |  |  |  | Protein measurement - underpinning capability | Paused (Stopped)
PAWG | CCQM-P164 | Mass fracton of human growth hormone in serum | PTB | 2017 |  |  |  |  | Protein measurement - clinical requirement | on-going (repeat at the middle of 2019)
PAWG | CCQM-P55.2.b | Peptide purity - synthetic oxytocin (OXT) | BIPM/NIMC | 2018 |  |  |  |  | Protein measurement - underpinning capability | Study will be finished at the end of 2018
PAWG | CCQM-P55.2.c | Peptide purity - synthetic glycated hexapeptide of HbA1c (GE) | BIPM/NIMC/HSA | 2019 | Planned | Run in parallel to CCQM-K115.c | No (K115.c) |  | Protein measurement - underpinning capability | Study starts at the middle of 2019
PAWG | CCQM-P55.2.2018 | Peptide purity - synthetic glycated hexapeptide of HbA1c (GE) | BIPM/NIMC/HSA | 2019 | Planned | Run in parallel to CCQM-K115.2018 | No (K115.2018) |  | Protein measurement - underpinning capability | Study starts at the middle of 2019
PAWG/IAWG | CCQM-P191 | determination of the amount content of a purity-assessed recombinant protein in an aqueous calibration solution | KRISS | 2017 | Planned | Run in parallel with CCQM-K151 | No (K151) |  | Protein measurement - underpinning capability (AAA procedure) | Study successfully finished in Oct. 2018
PAWG | CCQM-P201 | Total hemobglobin in blood | PTB | 2019 |  |  |  |  | Protein measurement - clinical requirement | Study starts at the middle of 2019
PAWG | CCQM-Pxxx | Fraction of HbA1c in blood | LNE/HAS | 2019 |  |  |  |  | Protein measurement - clinical requirement | Study starts at the middle of 2020
PAWG | CCQM-Pxxx | Peptide purity - PTH | BIPM | 2021 |  |  |  |  | Protein measurement - underpinning capability | Study starts at the beginning of 2021

## NAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-NAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
NAWG | CCQM-K86c | Relative quantification of genomic DNA fragments extracted from oil matrix (OSR/canola) | NRC/IRMM | 2016 | Planned |  |  |  | Defined genomic DNA quantification in high oil matrix
NAWG | CCQM-P113.4 | Relative quantification of genomic DNA fragments extracted from oil matrix (OSR) | NRC/IRMM | 2016 | Planned
NAWG | CCQM-P184 | Copy number concentration and fractional abundance of a mutation (SNV or INDEL) mixed with WT DNA | NMIA/LGC | 2017 |  |  |  |  | Core competence in nucleic acid mutation measurement
NAWG | Kx/Px | Quantification (and fractional abundance) of genomic DNA extracted from a protein matrix (meat/fish species quality/authenticity model) | UME/NIMT | 2020 |  |  |  |  | Defined genomic DNA identification /quantification in high protein / & processed high protein matrix
NAWG | P199 | Copy number concentration of HIV-1 RNA genomic sequences | LGC/(NIBSC) | 2019 | Extends core capability DNA/cDNA measurement using dPCR to include reverse transcription for RNA measurement |  |  |  | Extends core capability DNA/cDNA measurement using dPCR to include reverse transcription for RNA measurement
NAWG | Kx/P94.3 | DNA methylation / hydroxymethylation study | KRISS/ UME | 2020 |  |  |  |  | Core competence in epigenetic measurement

## CAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-CAWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison | Status | Comments
CAWG | CCQM-P123 | Number and geometric property of cells adhered to a solid substrate | INRIM | 2014 |  |  |  |  | Cell measurement - underpinning capability | Completed. Awaiting final report
CAWG | CCQM-P165 | Quantification of CD34+ cells | NIST/PTB/NIBSC | 2014 |  |  |  |  | Cell measurement - underpinning capability | Completed. Report completed
CAWG | CCQM-P197 | Proliferative stem cell number per unit area | NPL | 2022 |  |  |  |  | Extends complexity cell measurand | Paused
CAWG | CCQM-P217 | Quantification of fixed peripheral blood mononuclear cells in suspension | NIBSC | 2020 |  |  |  |  | Eukaryptic cell counting - under pinning capability. Examines core competances in cell counting with dilution series design | Ongoing
CAWG | CCQM-P205 | Quantification of fixed peripheral blood mononuclear cells in suspension | NIBSC | 2021 |  |  |  |  | Prokaryotic cell counting - under pinning capability. Seeks to establish flow cytometry method as alternative to compendial methods | Ongoing
CAWG | CCQM-Pxxx | Quantification of CD4+ and CD8+ cells expressing interferon gamma | NIBSC/NIST/LGC | 2021 |  |  |  |  | under consideration | Planning | Study delayed in favour of simple cell counting study using the same study materials.

## IRWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-IRWG | Colour codes: | KC Planned
Date updated | 2020-12-01
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Rational for Key Comparison | Status
IRWG | CCQM-K167/-P211 | Carbon isotope delta relative to the Vienna Peedee Belemnite | NRC | 2019 | Planned | Run in parallel to CCQM-K167
IRWG | CCQM-P212 | Carbon isotope delta measurements of various internatonal reference materials, and the sample NRC Vanillin, relative to the in-house CO2 reference gas | NRC | 2019 | Planned
IRWG | CCQM-P213 | Delta copper isotope ratio measurements in high purity materials | NRC, NIST, BAM and PTB | 2020 | Planned

## MBSG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-MBSG | Colour codes: | KC Planned
Date updated | 2016-12-01 | (The Group was closed as of April 2016.)
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Status Update | Rational for Key Comparison

## BAWG_Planned
KEY COMPARISON TABLES
Metrology Area | CCQM-BAWG | Colour codes: | KC Planned
Date updated | 2016-06-30 | (There is no need to update this spreadsheet. It is kept as a record of our past activities.)
Table 2 Planned comparions including on going BIPM comparions
Sub Area | Reference No. | Description | Pilot (Coordinating) Laboratory | Expected Start date | Status (for CCQM KCWG review use) | Comments (for CCQM KCWG review use) | Can be used for CMC review? (for CCQM KCWG review use) | Hyperlink to latest version of report (for CCQM KCWG review use) | Rational for Key Comparison
BAWG | CCQM-P137 | Clinical amylase measurement | NIMC | 2014 | PLANNED |  | No |  | Enzyme activity (catalytic concentration) - clinical requirement
BAWG | BAWG-pre003 | Hydrolysis optimisation to reduce uncertainty of peptide/protein MS measurement | NIST | 2014 | Planning |  |  |  | Protein measurement - underpinning capability
BAWG | CCQM-P155 | Multiple cancer cell biomarker measurement | LGC | 2014 |  |  |  |  | Nucleic acid measurement - clinical requirement
BAWG | CCQM-P164 | hGH quantification in serum | PTB | 2015 |  |  |  |  | Protein measurement - clinical requirement
BAWG | CCQM-P165 | quantification of CD34+ cell counts | NIST/PTB/NIBSC | 2014 |  |  |  |  | Cell measurement - underpinning capability
BAWG | CCQM-K134 | Relative quantification of genomic DNA fragments extracted from oil matrix (OSR) | IRMM | 2015 | Planned
BAWG | CCQM-K135 | Relative quantification of genomic DNA fragments extracted from starch matrix (rice) | NIMC/GLHK | 2015 | Planned