## Reference_Material_template
JCTLM Reference Materials Nomination Template, Version 11, February 2022
DBWG-P-02A-F-01
Please: | 1) complete one line for each analyte-RM combination.
2) do not merge cells within the table, just copy cells as appropriate if there are multiple analytes with assigned values in an RM.
3) complete one compliance demonstration spreasheet for each analyte-RM combinaison/line
For Secretariat Use |  |  |  | For Secretariat Use | Review Team Use | [36 empty] | For review team use |  | For Secretariat Use
Unique Nomination Number | Date Nomination Filed | Analyte / Parameter |  |  |  | Basis for Traceability Claim | Matrix |  | RM |  |  |  | Quantity | Range of Analyte Certified / Assigned Value and Unit |  |  | Range of Expanded Uncertainty for Analyte Certified/Assigned Value |  |  |  | Is the reference material compliant with all requirements of paragraph 4 (format of properties) of ISO 15194? | Is the reference material compliant with all requirements of paragraph 5 (properties, production and characterization) of ISO 15194? |  | Is supporting documentation compliant with all requirements of ISO 15194 paragraph 6? |  |  |  |  | CRM information for publication in the JCTLM DB |  |  | Contact information for publication in the JCTLM DB | [6 empty] | Contact Information for additional details (for review process) |  |  | Additional reviewer comments | Recommended for publication in the JCTLM List? | Review document for review committee use | Review Word document to be forwarded to the RM producer | Manufacturer comment (In case of delisting) | Manufacturer comment
|  | Analyte Category | Analyte Name | IUPAC/IFCC Number | List I or II or III? | Indicate either 1) Traceable to SI; or 2) Procedurally-defined (if so, name/cite procedure); or 3) Traceable to an international (WHO or other) standard (If so name standard). | Matrix Category | Actual matrix | Identifier / Number | Name | Expiry Date | Certifying Organization |  | From | To | Unit | From | To | Unit | Level of confidence (%) | The attached spreadsheet must be completed to demonstrate how compliance is met for all requirements of paragraph 4 | Is production and characterisation performed in full compliance with ISO Guide 34 and 35? The attached spreadsheet must be completed to demonstrate how compliance is met for all requirements of paragraph 5 | Is the Commutability assessment of the reference material available and consistent with its intended use statement? Provide reference to publication on commutability study | Is the label compliant with all requirements of ISO 15194 paragraph 6.2? | Does the Certificate include the items specified in ISO Guide 31 ? State name of file containing the provided certificate State language options for the Certificate provided to customers; e.g. English and/or your country language | State name of file containing the provided certification report, or documentation including all information appropriate to a certification report | Have you enclosed any additionnal information for compliance with paragraph 6.4? (If so state file name for any additionnal information for compliance) | The attached spreadsheet must be completed to demonstrate how compliance is met for all requirements of paragraph 6 | Hyperlink to Final Report of extent-of-equivalence tudies among listed RMs | Other relevant publications | Comments | Producer acronym | Producer name | Country | Website | email address | Phone number | Fax number | Name | email address | Phone number
Note on AF10: admin: please indicate if the material is restricted geographically, for DB user information

## Compliance_Template
Compliance demonstration |  |  | Return to Reference Material Template Spreadsheet
Nominating Organization | Contact Information | Reference Material Identifier / Name | JCTLM Reference Material Nomination Number | Review Team Name | Review Team Leader's Name | Date of review
ISO 15194, 2nd Ed - 2009-05-01 |  | Compliance demonstration of the nominated reference material with ISO 15194: 2009 (E) requirements |  | For Review Team Use |  |  | In the case of a submission of a revised nomination for a CRM in response to reviewers’ comments received during a preceding review cycle,
Paragraph number | Title of the paragraph | Please enter "Yes" or "No" in each of the cells below as appropriate | A short description on how the compliance is achieved must be provided, with a reference to the section of the documentation supporting the submission | Mandatory element (Yes/No) | Observations | Classification: Major non-compliance, minor non-compliance, or observation | a description of how the observed non-compliance(s) against identified ISO requirement(s) have been addressed, with a reference to additional information /data must be provided in the corresponding cell(s) below.
4 | Systematic format of properties in the supporting documentation of a certified reference material
4.1 | Format of properties
4.1.1
4.1.2
4.1.3
4.1.4
4.1.4.1
4.1.4.2
4.1.4.3
4.1.4.4
4.2 | Construction of systematic designations and trivial names
4.3 | Trivial names
5 | Properties. production. and characterization of a certified reference material
5.1 | Hierarchical position
5.2 | Properties
5.3 | Production and characterization
6 | Content of supporting documentation
6.1 | Supporting documentation
6.2 | Label
6.3 | Certificate
6.3 a)
6.3 b)
6.3 c)
6.3 d)
6.3 e)
6.3 f)
6.3 g)
6.3 h)
6.3 i)
6.3 j)
6.3 k)
6.3 l)
6.4 | Certification report
6.4.1
6.4.2
6.4.2.1
6.4.2.2
6.4.3
6.4.3 a)
6.4.3 b)
6.4.4
6.4.5
6.4.5.1
6.4.5.2
6.4.5.3
6.4.6
6.4.6.1
6.4.6.2
6.4.6.3
6.4.6.4
6.4.6.5
6.4.6.6
6.4.6.7
6.4.6.8
6.4.6.9
6.4.6.10
6.4.6.11
6.4.6.12
6.4.7
6.4.7.1
6.4.7.2
6.4.7.3
6.4.7.4
6.4.7.5
6.4.7.6
6.4.7.7
6.4.7.8
6.4.7.9
6.4.7.10
6.4.7.11
6.4.8
6.4.8.1
6.4.8.2
6.4.8.3
6.4.8.4
6.4.8.5
6.4.8.6
6.4.8.7
6.4.8.8
6.4.9
6.4.10
6.4.10.1
6.4.10.2
6.4.10.3
6.4.10.4
6.4.10.5
6.4.10.6
6.4.10.7
6.4.10.8
6.4.10.9
6.4.11
6.4.12
6.4.13
6.4.14