## Reference_Methods_Template
JCTLM Reference Method/Procedures Nominations Template, Version 11, February 2022
DBWG-P-02A-F-02
Please: | 1) complete one line for each analyte-method combination
2) do not merge cells within the table, just copy cells as appropriate if there are multiple analytes with assigned values in an RMP
3) complete one compliance demonstration spreasheet for each analyte-RM combinaison/line
For Secretariat Use |  |  |  | For Secretariat Use | [37 empty] | For Review Team Use |  |  | For Secretariat Use
Unique Nomination Number | Date Nomination Filed | Analyte/Parameter |  |  | Method capable of traceability of analyte to SI or defined procedure? | Matrix | [6 empty] | Method/ Procedure | [5 empty] | Quantity | Applicable Method Range |  |  | Method Expected Uncertainty Range |  |  |  | Method/Procedure Documentation |  |  |  |  | Compliant with the mandatory elements of ISO 15193? |  |  |  |  | Contact Information for Additional Details |  |  | Comment(s) to be published via the JCTLM-DB |  | Does Ref. Method value-assignment approach meet traceability requirements of IVDD industry and regulatory community? | Additional reviewer comments | Recommended for publication in JCTLM DB? | Review Word document for review committee use | Review Word document to be forwarded to the RMP developer/owner | Developer/Owner Comment (In case of delisting) | Review team name
|  | Analyte Category | Analyte Name | IUPAC/IFCC Number |  | Matrix Category 1 | Matrix Category 2 | Matrix Category 3 | Matrix Category 4 | Matrix Category 5 | Matrix Category 6 | Applicable Matrices | Identifier / Number | Name | Organization that developed / validated the method | Measurement Technique(s) Used | Comments 1 | Comments 2 |  | From | To | Unit | From | To | Unit | Level of confidence (%) | Peer Reviewed Publication | CCQM Key Comparison Report in which the method has been used | Hyperlink for CCQM Key comparison report | Non-CCQM Interlaboratory Comparison Report | URL of the non-CCQM Interlaboratory Comparison Report | Other means of validation used | Adopted by professional organisation? (If so state organization name) | No known patent issues | Do the method instructions contain all the required items? (Yes /No) The attached spreadsheet must be completed to demonstrate how compliance is met for all requirements of paragraph 4 | Additional comments | Name | email address | Phone number |  | Hyperlink to Final Report of extent-of-equivalence studies among listed RMM/Ps

## Compliance_Template
Compliance demonstration |  |  | Return to Reference Methods Template Spreadsheet
Reference Method Nominated by | Contact Information | Reference Method Identifier / Name | JCTLM Reference Material Nomination Number | Review Team Name | Review Team Leader's Name | Date of review
ISO 15193, 2nd Ed 2009-05-01 |  | Compliance demonstration of the nominated reference method with ISO 15193:2009(E) requirements |  | For Review Team Use |  |  | In the case of a submission of a revised nomination for a RMP in response to reviewers’ comments received during a preceding review cycle,
Paragraph number | Title of the paragraph | Please enter "Yes" or "No" in each of the cells below as appropriate | A short description on how the compliance is achieved must be provided, with a reference to the section of the documentation supporting the submission | Mandatory element (Yes/No) | Observations | Classification: Major non-compliance, minor non-compliance, or observation | a description of how the observed non-compliance(s) against identified ISO requirement(s) have been addressed, with a reference to additional information /data must be provided in the corresponding cell(s) below.
4 | Presentation of a reference measurement procedure
4.1 | Elements of a written reference measurement procedure
4.2 | Warning and safety precautions
4.3 | Introduction
4.4 | Scope
4.4 a)
4.4 b)
4.4 c)
4.4 d)
4.4 e)
4.5 | Terms, definitions, symbols and abbreviated terms
4.5.1
4.5.2
4.5.3
4.6 | Measurement principle and measurement method
4.6.1
4.6.2
4.7 | Checklist
4.7.1
4.7.2
4.7.2 a)
4.7.2 b)
4.7.2 c)
4.7.2 d)
4.7.2 e)
4.7.2 f)
4.7.3
4.7.4
4.7.5
4.8 | Reagents and materials
4.8.1
4.8.2
4.8.2 a)
4.8.2 b)
4.8.2 c)
4.8.2 d)
4.8.2 e)
4.8.2 f)
4.8.2 g)
4.8.2 h)
4.8.3
4.8.4
4.8.5
4.8.6
4.9 | Apparatus
4.9.1
4.9.1 a)
4.9.1 b)
4.9.2
4.10 | Sampling and sample
4.10.1
4.10.2
4.11 | Preparation of measuring system and analytical portion
4.11.1
4.11.2
4.11.2 a)
4.11.2 b)
4.11.2 c)
4.11.2 d)
4.11.2 e)
4.11.3
4.11.3 a)
4.11.3 b)
4.11.3 c)
4.11.3 d)
4.11.3 e)
4.11.3 f)
4.11.3 g)
4.11.4
4.11.5
4.11.5 a)
4.11.5 b)
4.11.5 c)
4.11.5 d)
4.11.6
4.11.7
4.12 | Operation of measuring system
4.12.1
4.12.1 a)
4.12.1 b)
4.12.1 c)
4.12.2
4.12.3
4.12.4
4.12.5
4.13 | Data processing
4.13.1
4.13.1 a)
4.13.1 b)
4.13.1 c)
4.13.1 d)
4.13.1 e)
4.13.1 f)
4.13.1 g)
4.13.1 h)
4.13.1 i)
4.13.1 j)
4.13.2
4.13.3
4.14 | Analytical reliability
4.14.1
4.14.2
4.14.3
4.14.4
4.14.5
4.14.6
4.14.7
4.14.8
4.14.9
4.14.10
4.14.11
4.14.12
4.14.13
4.14.14
4.14.15
4.14.16
4.15 | Special cases
4.16 | Validation of a reference measurement procedure
4.17 | Reporting
4.17 a)
4.17 b)
4.17 c)
4.17 d)
4.17 e)
4.17 f)
4.17 g)
4.17 h)
4.18 | Quality assurance
4.18 a)
4.18 b)
4.18 c)
4.19 | Bibliography
4.20 | Dates of authorization and revision