## Slide 1: CCEM update to the CCU 22nd meeting, June 2016
Gert Rietveld, CCEM president
Michael Stock, CCEM executive secretary

## Slide 2: Highlights from the 29th CCEM meeting, March 2015
Revised SI
Progress review towards revised SI (Watt balance, h values)
 see the presentation by Dr Barry Wood at agenda point 4.1
Public education (new task of WGSI + uptake at regional level)
 overview of mise en pratique at agenda point 7
Starting date of revised SI in EM metrology

## Slide 3: Revised SI: public education
N. Fletcher (BIPM, 2013): “latest values of h will result in a 0.1 ppm shift in voltage metrology”
Task Group SI published a paper and made presentations at NCSLi 2014 and CPEM2014 conferences
2015: TGSI merged with WGSI, liaise with CIPM PR group
NCSLI Measure J. Meas. Sci., vol 9, no 3, Sept 2014, pp 30 – 35

## Slide 4: Start date of the revised SI in EM
Question: when should the revised SI start, following a CGPM decision?
The revised SI affects EM metrology: it results in a step change since “revised SI” values of RK (h/e2) and KJ (2e/h) will be different from the present conventional 1990 values
The RK and KJ values need to be updated, per a certain fixed date, in all software of NMIs and industry related to quantum standards based on QHE (RK) or the AC Josephson effect (KJ)
Status:
CIPM in 2015 October meeting expressed preference for “at day of CGPM decision”; will make final decision in October 2016
Present debate in CCEM; several CCEM members show preference having EM implementation after short transition period to handle step change (not existing in other fields!), similarly as 1990 introduction of RK and KJ

## Slide 5: Other highlights from the 29th CCEM meeting
Review of KCs
  New capacitance comparison with star-approach (BIPM)
Review of MRA, input from CCEM to MRA review workshop
Technical talks on graphene QHR, waveform metrology
Next CCEM meeting: technical session on new challenges
CCEM follows BIPM publication policy (most working docs now public)