Request/Agreement for Calibration of Standard Capacitors

Name of National Metrology Institute as it should appear on the certificate:

Name of person to contact for Technical Information:

Telephone:

email:

| Description of Standard Capacitors |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Serial Number of |  | Manufacturer | Capacitor Model Number | Nominal Capacitance | Temperature Coeff. (if applicable) | Last BIPM Certificate (No./year) |
| Capacitor | Chassis (if any) |  |  |  |  |  |

Probable Date of Delivery to the BIPM:

Unless special arrangements are made, the capacitors will be calibrated with an rms applied voltage of 100 V for 1 pF and 10 pF standards and 10 V for 100 pF standards. Calibration results will be given for two different frequencies: 1000 Hz and 1592 Hz.

Customs documents and formalities: (Please indicate method by marking an “X” after the appropriate entry):

| 1. Member-state of the European Union, no customs documents required.___ | 2. Diplomatic Bag.____ |
| --- | --- |
| 3. ATA Carnet. ____ | 4. Other. (Please contact BIPM for details). ____ |

You will shortly receive a form BIPM/ADM-DOU/F-04 giving us your shipping and customs instructions. It must be completed and returned to the BIPM before shipping or carrying the standards.

Language of the certificate (English  / French):

Address to which the certificate shall be sent: ________________________________________ ______________________________________________________________________

Official Authorization:

Signature of the Director or delegated officer of the National Metrology Institute designated by a Member-State of the Meter convention authorizing a free calibration:

Signature________________________________ 	Date__________________

On the part of BIPM, I agree to carry out the calibration requested above:

Signature of BIPM Physical Metrology Department Director_______________________ 	Date_______________

A copy of the signed form will be sent via email to (indicate email address)___________________________