Request/Agreement Form for Calibration of Standard Resistors

Name of National Metrology Institute as it should appear on the certificate:

Name of person to contact for technical information:

Telephone:

email:

| Description of standard resistors |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Serial number | Manufac- turer | Model number | Nominal Resistance | Temp. coefficients 23°C/10-6K-1  /10-6K-2 | Pressure coef- ficient/10-9/hPa | Last BIPM Certificate (No./year) |

Probable Date of Delivery to the BIPM:

Customs documents and formalities:  (Please indicate method by marking an “X” after the appropriate entry):

| 1. Member-state of the European Union, no customs documents required.___ | 2. Diplomatic Bag.____ |
| --- | --- |
| 3. ATA Carnet. ____ | 4. Other. (Please contact BIPM for details). ____ |

You will shortly receive a form BIPM/ADM-DOU-F-04 giving us your shipping and customs instructions. It must be completed and returned to the BIPM before shipping or carrying the standards.

Language of the certificate (English  / French):

Address to which the certificate shall be sent: ________________________________________ ______________________________________________________________________

Official Authorization:

Signature of the Director or delegated officer of the National Metrology Institute designated by a Member-State of the Metre Convention authorizing a free calibration:

Signature________________________________ 	Date__________________

On the part of BIPM, I agree to carry out the calibration requested above:

Signature of BIPM Physical Metrology Department Director_______________________ 	Date__________________

A copy of the signed form shall be sent via email to (indicate email address)___________________________