Appendix B.2 	Condition of the transfer standards on departure

Laboratory: National Metrology Institute of Japan (NMIJ, AIST)

Were the filters contaminated or damaged in any way while at your laboratory?  No

If yes please give details:

Dust might be adhered a little bit around the area within 5 mm from the bottom edge of each filter where the filter mount is attached.

Was any cleaning of filters undertaken while at your laboratory? No

If yes please give details:

Has the filter container been flushed with dry nitrogen and sealed? No

Signature : 	Date :

Hiroshi Shitomi				2014-03-14

Appendix B.2 	Condition of the transfer standards on departure

Laboratory: National Metrology Institute of Japan (NMIJ, AIST)

Were the filters contaminated or damaged in any way while at your laboratory?  No

If yes please give details:

Dust might be adhered a little bit around the area within 5 mm from the bottom edge of each filter where the filter mount is attached.

Was any cleaning of filters undertaken while at your laboratory? No

If yes please give details:

Has the filter container been flushed with dry nitrogen and sealed? No

Signature : 	Date :

Hiroshi Shitomi				2014-09-04