Appendix A.1 Description of measurement facility and measurement method

Laboratory: National Metrology Institute of Japan (NMIJ, AIST)

Indicate whether this table relates to Step 2 [ ] or Step 4 [*]

If the measurement setup has not changed from Step 2, check here [*] and the following table does not need to be completed. Otherwise, please fill out the whole table.

Table A-1 Details of Measurement Setup

| Make and Type of Spectrophotometer | Same as Step 2 |
| --- | --- |
| Additional Stray Light Rejection | Same as Step 2 |
| Source Drift Monitoring | Same as Step 2 |
| Source | Same as Step 2 |
| Detector | Same as Step 2 |
| Temperature(a) | Range of Temperatures during the Step 4: 23.1 ºC to 23.8 ºC |
| Humidity | Same as Step 2 |
| Beam Size | Same as Step 2 |
| Beam Collimation | Same as Step 2 |
| Measurement Sequence(b) | Same as Step 2 |
| Bandwidth | Same as Step 2 |

(a) i.e. describe method of temperature monitoring of filters and range of temperatures  (b) i.e. describe number of measurements and whether filter orientation with respect to beam changes between measurements

Description of measuring technique (please include a diagram) : Same as Step 2

If any damage, contamination or cleaning of the filters was carried out, please give details: N/A

Signature :	Date :

Hiroshi Shitomi			2015-1-11