# Questionnaire previous to the 2003 meeting of the ad hoc CCL/CCTF joint  working group

- Frequency sources in the microwave and/or in the optical domain

  - Have you made absolute frequency measurements of existing sources included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes 			No

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

- The absolute frequency of an acetylene-stabilized laser at 1542 nm was measured within an uncertainty of 1.3 kHz using an fs comb.

[F. L. Hong, A. Onae, J. Jiang, R. Guo. H. Inaba, K. Minoshima, T. R. Schibli, and H. Matsumoto, “Absolute frequency measurement of an acetylene-stabilized laser at 1542 nm”, submitted to Opt. Lett.]

- The absolute frequency of an iodine-stabilized Nd:YAG laser was measured within an uncertainty of 6.7x10-13 by carrying out an intercomparison and the uncertainty was improved to be 1x10-13 by using an fs comb.

[F. L. Hong, J. Ishikawa, K. Sugiyama, A. Onae, H. Matsumoto, J. Ye, and J. L. Hall, “Comparison of Independent Optical Frequency Measurements Using a Portable Iodine-Stabilized Nd:YAG Laser”, IEEE  IM52, No. 2, 240-244, 2003.]

[F. L. Hong, J. Ishikawa, Y. Zhang, R. Guo, A. Onae, and H. Matsumoto, “Frequency reproducibility of a group of iodine-stabilized Nd:YAG lasers at 532 nm”, submitted to Opt. Commun.]

    - Do you think that these sources could be proposed as candidates for secondary representations of the second?

Yes 			No

  - Have you made absolute frequency measurements of existing sources not included in the CCL list of recommended radiations (Mise en Pratique 2001)?

Yes			No

If yes, please list the values and uncertainties obtained and the method used (comb, chain or other techniques) and refer to the publication in which they may be found. Please be sure to include measurements made in other laboratories in your country.

    - Do you think that these sources could be included in a up dated list of recommended radiations and/or proposed as candidates for secondary representation of the second?

Yes			No

  - Are you currently developing new frequency sources?

Yes			No

If yes, please give a brief description of your experiment.

Prof. Katori's group in the University of Tokyo is developing an optical frequency standard at 698 nm based on trapped & cooled Sr atoms in an optical lattice.

- Working group

  - Concerning the membership of the joint CCTF/CCL, do you agree on

2.2.1. including all the members of the CCTF working group on the secondary representations of the second and all the members  of the CCL MeP working group?

Yes			No

2.2.2. including some of the members of the CCTF working group on the secondary representations of the second and some of the members  of the CCL MeP working group?

Yes			No

2.2.3. nominating experts from laboratories that are not members of the CCTF and the CCL?

Yes			No

If so, who would you like to propose? Note that we may need to restrict the numbers so that it may be necessary to restrict the number of such people.
We do not have ideas about the experts for nomination at the moment, but the working group should be able to invite experts from any institutes when we need supports for some specific subjects.

……………………………………………………………………………………….

  - Do you agree that the chairpersons of the joint CCTF/CCL working group should participate in the forthcoming CCTF and CCL meetings so that a direct report can be given?

Yes			No

  - Do you think that the joint CCTFL/CCL working group should regularly meet apart from the CCTF and CCL meetings?

Yes			No

It looks enough to meet at conferences or meetings. It is not needed to meet regularly.

NAME:…Hirokazu Matsumoto, Atsushi Onae, Shin-ichi Ohshima ……………………………………………………………………………

INSTITUTE:…    NMIJ/AIST ………………………………………………………………………………….