## Caché (hidden)
Yes | days | A
No | hours | B

## Percol (hidden)
NMI | 0
RN | 0
ampoule name | Please don't leave empty | 0 | 0
mass / g | 0 | 0 | 0
Activity conc. kBq/g | 0
Ref date | 0
Impurity | rel. activity | stand uncert
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
| Type A | Type B
Uncertainty of activity conc / 10-2 | 0 | 0

## Main
ESIR reporting form - Main page 1 |  |  | V0.0 page 1
BIPM.RI(II)-K5
Date
Participant laboratory
Laboratory acronym
Full name
Country
Address
Contact person
E-mail address
Persons who participated in the measurement
Radionuclide (e.g. Ho-166m)
Half-life used by the participant
Standard uncertainty (k=1)
Unit
Reference
Participation mode
To generate a degree of equivalence
Or as pilot study (no publication in the KCDB)
Result
Reference date, UT (YYYY MM DD HH MM SS)
Activity concentration (main radionuclide) at reference date / kBq g-1
to be used for the degrees of equivalence (except when pilot study)
| Type A | Type B | Combined
Relative standard uncertainty / 10-2
Corresponding measurement method or method used to combine several results
Date of measurement at the NMI
Comment
Note on B28: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : type "0.72" if the relative standard uncertainty is 0.72 % (k = 1)

## Solution
ESIR reporting form - radioactive solution |  |  | V0.0 page 2
BIPM.RI(II)-K5
Solution details
Solvant | Solvant Concentration / mol dm-3 | Carriers | Carrier concentration / mg g-1
Solution density (at 20°C) / g cm-3
Impurities |  | Impurities detected ?
Date of the impurity measurement YYYY-MM-DD
Radionuclide (e.g. Ho-166m) Leave empty if no impurity | Ratio of activity of impurity to activity of main radionuclide at reference date | Standard uncertainty of the activity ratio | Relative standard uncertainty
Exemple: Co-58 | 2.56e-05 | 1.1e-06 | 0.042969 | i.e. gamma spec rel. uncert. is 4.3 %
SIR ampoules
Ampoule number | Please don't leave empty
Mass of solution /g
Standard uncert. / g
Comment

## Measurement 1 Unc.
ESIR - Measurement 1 / Uncertainty budget V0.0 page 3a
BIPM.RI(II)-K5
Measurement method
ACRONYM |  |  | Comments:
Activity concentration at reference date / kBq g-1
Relative standard uncertainty / 10-2 | 0
Date of measurement at the NMI (YYYY-MM-DD)
For relative methods:
Primary methods or standards used for calibration
Date of calibration
Date of primary measurement
Uncertainty budget
Uncertainty component | Relative uncertainty / 10-2 | Evaluation type (A or B) | Comment | Type A | Type B | Combined
Counting statistics
Background
Weighing
Dilution
Dead time
Resolving time
Pile-up, afterpulse
Adsorption
Impurities
Decay correction
Decay data
Extra-/Inter-polation of efficiency curve
Quenching, kB value
Tracer
Reproducibility
Combined standard uncertainty |  |  |  | 0 | 0 | 0
Note on A15: Carine Michotte: Please modify the list of components as needed
Note on B15: Carine Michotte: type "0.67" if relative standard uncertainty is 0.67 % (k = 1)

## Measurement 1 Add
ESIR - Measurement 1 / additional informations V0.0 page 3b
BIPM.RI(II)-K5
To fill when liquid scintillation counting is used
In case of model-based standardization techniques (CIEMAT/NIST or TDCR)
MODEL details
calculation code (with version number)
kB (with mean, range, pdf)
stopping power model (e.g. ICRU37)
statistical model (e.g. Poisson, Polya)
quenching formula (e.g. Birks)
lower integration bound (eV)
asymmetry considered (yes/no)
accidental coincidences considered (yes/no)
beta spectrum
transition probabilities (55Fe case)
other comments
Scintillator
type of vials (e.g. PE, glass)
LS cocktail (e.g. UG)
volume (mL)
aliquote of solution (mg)
additional water/carrier (type and mL)
complexing agent (e.g. HDEHP)
nb of LS sources
other comments
System
reference
PMT model
coincidence resolving time (ns)
type of dead time (extented / not extended)
base duration (µs)
efficiency variation (e.g. grey filters)
acquisition system
TDCR value
doubles efficiency range used
count rate (s-1)
other comments
Comment

## ACRONYMS
ACRONYMS
Geometry | acronym | Detector | acronym
4p | 4P | proportional counter | PC
defined solid angle | SA | press. prop counter | PP
2p | 2P | liquid scintillation counting | LS
undefined solid angle | UA | NaI(Tl) | NA
|  | Ge(HP) | GH
|  | Si(Li) | SL
|  | CsI(Tl) | CS
|  | ionization chamber | IC
|  | grid ionization chamber | GC
|  | Cerenkov detector | CD
|  | calorimeter | CA
|  | solid plastic scintillator | SP
|  | PIPS detector | PS
|  | CeBr3 | CB
Radiation | acronym | Mode | acronym
positron | PO | efficiency tracing | ET
beta particle | BP | internal gas counting | IG
Auger electron | AE | CIEMAT/NIST | CN
conversion electron | CE | sum counting | SC
mixed electrons | ME | coincidence | CO
bremsstrahlung | BS | anti-coincidence | AC
gamma rays | GR | coincidence counting with efficiency tracing | CT
X - rays | XR | anti-coincidence counting with efficiency tracing | AT
photons (x + g) | PH | triple-to-double coincidence ratio counting | TD
alpha - particle | AP | high efficiency | HE
mixture of various radiation | MX

## versions (hidden)
2.1 | 26 April 2021 | Check/Change of format of cells (Standard/number/texte/date…)
2.2 | 14 March 2022 | Solution: added impurities yes/no + leave or leave not empty comments +date forma changed
Meas method: added combined uncertainty
Main: "lab acronym" + changed format for activity conc.
2.3 | 1 Feb 2024 | Solution: 1 more digit for acid conc. + mass uncertainty in number format