## Caché (hidden)
Yes | days | A
No | hours | B

## Percol (hidden)
NMI | 0
RN | 0
ampoule name | Please don't leave empty | 0 | 0
mass / g | 0 | 0 | 0
Activity conc. kBq/g | 0
Ref date | 0
Impurity | rel. activity | stand uncert
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
0 | 0 | 0
| Type A | Type B
Uncertainty of activity conc / 10-2 | 0 | 0

## Main
SIR/SIRTI reporting form - radioactive solution page 1 |  |  | V2.3 page 1
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Date
Participant laboratory
Laboratory acronym
Full name
Country
Address
Contact person
E-mail address
Persons who participated in the measurement
Radionuclide (e.g. Ho-166m)
Half-life used by the participant
Standard uncertainty (k=1)
Unit
Reference
Participation mode
To generate a degree of equivalence
Or as pilot study (no publication in the KCDB)
Result
Reference date, UT (YYYY MM DD HH MM SS)
Activity concentration (main radionuclide) at reference date / kBq g-1
to be used for the degrees of equivalence (except when pilot study)
| Type A | Type B | Combined
Relative standard uncertainty / 10-2
Corresponding measurement method or method used to combine several results
Date of measurement at the NMI
Comment
Note on B28: [Commentaire à thread] Votre version d’Excel vous permet de lire ce commentaire à thread. Toutefois, les modifications qui y sont apportées seront supprimées si le fichier est ouvert dans une version plus récente d’Excel. En savoir plus : https://go.microsoft.com/fwlink/?linkid=870924 Commentaire : type "0.72" if the relative standard uncertainty is 0.72 % (k = 1)

## Solution
SIR/SIRTI reporting form - radioactive solution |  |  | V2.3 page 2
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Solution details
Solvant | Solvant Concentration / mol dm-3 | Carriers | Carrier concentration / mg g-1
Solution density (at 20°C) / g cm-3
Impurities |  | Impurities detected ?
Date of the impurity measurement YYYY-MM-DD
Radionuclide (e.g. Ho-166m) Leave empty if no impurity | Ratio of activity of impurity to activity of main radionuclide at reference date | Standard uncertainty of the activity ratio | Relative standard uncertainty
Exemple: Co-58 | 2.56e-05 | 1.1e-06 | 0.042969 | i.e. gamma spec rel. uncert. is 4.3 %
SIR ampoules
Ampoule number | Please don't leave empty
Mass of solution /g
Standard uncert. / g
Comment

## Measurement method
SIR/SIRTI reporting form - radioactive solution V2.3 page 3a
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Measurement method
ACRONYM |  |  | Comments:
Activity concentration at reference date / kBq g-1
Relative standard uncertainty / 10-2 | 0
Date of measurement at the NMI (YYYY-MM-DD)
For relative methods:
Primary methods or standards used for calibration
Date of calibration
Date of primary measurement
Uncertainty budget
Uncertainty component | Relative uncertainty / 10-2 | Evaluation type (A or B) | Comment | Type A | Type B | Combined
Counting statistics
Background
Weighing
Dilution
Dead time
Resolving time
Pile-up, afterpulse
Adsorption
Impurities
Decay correction
Decay data
Extra-/Inter-polation of efficiency curve
Quenching, kB value
Tracer
Reproducibility
Combined standard uncertainty |  |  |  | 0 | 0 | 0
Note on A15: Carine Michotte: Please modify the list of components as needed
Note on B15: Carine Michotte: type "0.67" if relative standard uncertainty is 0.67 % (k = 1)

## Measurement method (2)
SIR/SIRTI reporting form - radioactive solution V2.3 page 3b
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Measurement method
ACRONYM |  |  | Comments:
Activity concentration at reference date / kBq g-1
Relative standard uncertainty / 10-2 | 0
Date of measurement at the NMI (YYYY-MM-DD)
For relative methods:
Primary methods or standards used for calibration
Date of calibration
Date of primary measurement
Uncertainty budget
Uncertainty component | Relative uncertainty / 10-2 | Evaluation type (A or B) | Comment | Type A | Type B | Combined
Counting statistics
Background
Weighing
Dilution
Dead time
Resolving time
Pile-up, afterpulse
Adsorption
Impurities
Decay correction
Decay data
Extra-/Inter-polation of efficiency curve
Quenching, kB value
Tracer
Reproducibility
Combined standard uncertainty |  |  |  | 0 | 0 | 0
Note on A15: Carine Michotte: Please modify the list of components as needed
Note on B15: Carine Michotte: type "0.67" if relative standard uncertainty is 0.67 % (k = 1)

## Measurement method (3)
SIR/SIRTI reporting form - radioactive solution V2.3 page 3c
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Measurement method
ACRONYM |  |  | Comments:
Activity concentration at reference date / kBq g-1
Relative standard uncertainty / 10-2 | 0
Date of measurement at the NMI (YYYY-MM-DD)
For relative methods:
Primary methods or standards used for calibration
Date of calibration
Date of primary measurement
Uncertainty budget
Uncertainty component | Relative uncertainty / 10-2 | Evaluation type (A or B) | Comment | Type A | Type B | Combined
Counting statistics
Background
Weighing
Dilution
Dead time
Resolving time
Pile-up, afterpulse
Adsorption
Impurities
Decay correction
Decay data
Extra-/Inter-polation of efficiency curve
Quenching, kB value
Tracer
Reproducibility
Combined standard uncertainty |  |  |  | 0 | 0 | 0
Note on A15: Carine Michotte: Please modify the list of components as needed
Note on B15: Carine Michotte: type "0.67" if relative standard uncertainty is 0.67 % (k = 1)

## Measurement method (4)
SIR/SIRTI reporting form - radioactive solution V2.3 page 3d
BIPM.RI(II)-K1 or BIPM.RI(II)-K4
Measurement method
ACRONYM |  |  | Comments:
Activity concentration at reference date / kBq g-1
Relative standard uncertainty / 10-2 | 0
Date of measurement at the NMI (YYYY-MM-DD)
For relative methods:
Primary methods or standards used for calibration
Date of calibration
Date of primary measurement
Uncertainty budget
Uncertainty component | Relative uncertainty / 10-2 | Evaluation type (A or B) | Comment | Type A | Type B | Combined
Counting statistics
Background
Weighing
Dilution
Dead time
Resolving time
Pile-up, afterpulse
Adsorption
Impurities
Decay correction
Decay data
Extra-/Inter-polation of efficiency curve
Quenching, kB value
Tracer
Reproducibility
Combined standard uncertainty |  |  |  | 0 | 0 | 0
Note on A15: Carine Michotte: Please modify the list of components as needed
Note on B15: Carine Michotte: type "0.67" if relative standard uncertainty is 0.67 % (k = 1)

## ACRONYMS
ACRONYMS
Geometry | acronym | Detector | acronym
4p | 4P | proportional counter | PC
defined solid angle | SA | press. prop counter | PP
2p | 2P | liquid scintillation counting | LS
undefined solid angle | UA | NaI(Tl) | NA
|  | Ge(HP) | GH
|  | Si(Li) | SL
|  | CsI(Tl) | CS
|  | ionization chamber | IC
|  | grid ionization chamber | GC
|  | Cerenkov detector | CD
|  | calorimeter | CA
|  | solid plastic scintillator | SP
|  | PIPS detector | PS
|  | CeBr3 | CB
Radiation | acronym | Mode | acronym
positron | PO | efficiency tracing | ET
beta particle | BP | internal gas counting | IG
Auger electron | AE | CIEMAT/NIST | CN
conversion electron | CE | sum counting | SC
mixed electrons | ME | coincidence | CO
bremsstrahlung | BS | anti-coincidence | AC
gamma rays | GR | coincidence counting with efficiency tracing | CT
X - rays | XR | anti-coincidence counting with efficiency tracing | AT
photons (x + g) | PH | triple-to-double coincidence ratio counting | TD
alpha - particle | AP | high efficiency | HE
mixture of various radiation | MX

## versions (hidden)
2.1 | 26 April 2021 | Check/Change of format of cells (Standard/number/texte/date…)
2.2 | 14 March 2022 | Solution: added impurities yes/no + leave or leave not empty comments +date forma changed
Meas method: added combined uncertainty
Main: "lab acronym" + changed format for activity conc.
2.3 | 1 Feb 2024 | Solution: 1 more digit for acid conc. + mass uncertainty in number format