## 10 kN data form
Orientation | Force | Time | Reading | Temperature | Tared Readings | General Information | DMP 41 Checks |  |  |  | Environmental Checks |  |  | CCM.F-K1 information
Degrees | kN | hh:mm | mV/V | ºC | mV/V |  | BN 100 Setting | DMP 41 Reading |  |  |  | Initial | Final | Institution Name | Country | Organization | Machine information
0° | 0 | 10:04 |  |  | 0 | Date | mV/V | mV/V |  |  | Air pressure / hPa | [5 empty] | Type (dead weight, etc.) | Capacity (kN) (min. to max.) | Exp. Uncertainty (%) (k=2, 95%)
| 10 | 10:08 |  |  | 0 | Laboratory |  | Initial | Final |  | Humidity / % RH |  |  | UME | TURKEY | EURAMET, GULFMET, COOMET | Dead weight | 0,01 to 11 | 0.002
| 0 | 10:12 |  |  | 0 | Machine Capacity | 0 |  | -
| 10 | 10:16 |  |  | 0 | Operator | 0.5 |  | -
| 0 | 10:20 |  |  | 0 |  | 1 |  | -
| 10 | 10:24 |  |  | 0 | DMP 41 serial no | 1.5 |  | -
| 0 | 10:28 |  |  | 0 | Filter | 2 |  | -
| 5 | 10:32 |  |  | 0 | Bridge Supply | DMP Check Reading | - | -
| 10 | 10:36 |  |  | 0 | Measuring Range
| 0 | 10:40 |  |  | 0 | Mode (abs/net)
| 5 | 10:44 |  |  | 0 |  | Orientation Degrees | Deflection / mV/V (Tared) |  |  | Rotation effect, mV/V | Difference from mean / (mV/V)
| 10 | 10:48 |  |  | 0 | Transducer producer
| 0 | 10:52 |  |  | 0 | Serial no |  | kN | kN |  | Orientation in ° | kN | kN
| 5 | 10:56 |  |  | 0 |  |  | 5 | 10 |  |  | 5 | 10
| 10 | 11:00 |  |  | 0 |  | 0° | 0 | 0 |  | 0 | 0 | 0
60° | 0 | 11:04 |  |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
| 5 | 11:08 |  |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
| 10 | 11:12 |  |  | 0 |  | 60° | 0 | 0 |  | 60 | 0 | 0
| 0 | 11:16 |  |  | 0 |  | 120° | 0 | 0 |  | 120 | 0 | 0
| 5 | 11:20 |  |  | 0 |  | 180° | 0 | 0 |  | 180 | 0 | 0
| 10 | 11:24 |  |  | 0 |  | 240° | 0 | 0 |  | 240 | 0 | 0
120° | 0 | 11:28 |  |  | 0 |  | 300° | 0 | 0 |  | 300 | 0 | 0
| 5 | 11:32 |  |  | 0 |  | 360° | 0 | 0 |  | 360 | 0 | 0
| 10 | 11:36 |  |  | 0 |  | 420° | 0 | 0 |  | 420 | 0 | 0
| 0 | 11:40 |  |  | 0 |  | 480° | 0 | 0 |  | 480 | 0 | 0
| 5 | 11:44 |  |  | 0 |  | 540° | 0 | 0 |  | 540 | 0 | 0
| 10 | 11:48 |  |  | 0 |  | 600° | 0 | 0 |  | 600 | 0 | 0
180° | 0 | 11:52 |  |  | 0 |  | 660° | 0 | 0 |  | 660 | 0 | 0
| 5 | 11:56 |  |  | 0 |  | 720° | 0 | 0 |  | 720 | 0 | 0
| 10 | 12:00 |  |  | 0
| 0 | 12:04 |  |  | 0 |  | Force | 5 kN | 10 kN
| 5 | 12:08 |  |  | 0 |  | Results | Value | Value | Unit
| 10 | 12:12 |  |  | 0 |  | measured mean deflection (3 runs in 0° position) | 0 | 0 | mV/V
240° | 0 | 12:16 |  |  | 0 |  | rel. Standard deviation single measurement values | #DIV/0! | #DIV/0! | - |  | #DIV/0! | #DIV/0!
| 5 | 12:20 |  |  | 0 |  | rel. Standard deviation mean value (3 measurements) | #DIV/0! | #DIV/0! | -
| 10 | 12:24 |  |  | 0 |  | DMP 41 correction | 0 | 0 | mV/V
| 0 | 12:28 |  |  | 0 |  | mean 0° deflection with DMP41 correction | 0 | 0 | mV/V
| 5 | 12:32 |  |  | 0
| 10 | 12:36 |  |  | 0 |  | measured mean deflection (12 runs from 60° to 720°) | 0 | 0 | mV/V
300° | 0 | 12:40 |  |  | 0 |  | rel. Standard deviation single measurement values | #DIV/0! | #DIV/0! | -
| 5 | 12:44 |  |  | 0 |  | rel. Standard deviation mean value (12 measurements) | #DIV/0! | #DIV/0! | -
| 10 | 12:48 |  |  | 0 |  | DMP 41 correction | 0 | 0 | mV/V
| 0 | 12:52 |  |  | 0 |  | mean 60°...720° deflection with DMP41 correction | 0 | 0 | mV/V
| 5 | 12:56 |  |  | 0
| 10 | 13:00 |  |  | 0
360° | 0 | 13:04 |  |  | 0 |  | Contributions to the standard uncertainty | Value | Value | Unit
| 5 | 13:08 |  |  | 0 |  | Repeatability in 0° position | #DIV/0! | #DIV/0! | -
| 10 | 13:12 |  |  | 0
| 0 | 13:16 |  |  | 0 |  | Reproducibility (normal distribution from 12 values) | #DIV/0! | #DIV/0! | -
| 5 | 13:20 |  |  | 0
| 10 | 13:24 |  |  | 0 |  | rel. uncertainty of the sensitivity due to temperature deviations | 0 | 0 | -
420° | 0 | 13:28 |  |  | 0 |  | (rectangular distribution for 20 °C +/- 0,15 K, temp. coef. ???)
| 5 | 13:32 |  |  | 0
| 10 | 13:36 |  |  | 0 |  | rel. uncertainty of applied force in force standard machine | 0 | 0 | -
| 0 | 13:40 |  |  | 0
| 5 | 13:44 |  |  | 0 |  | Resolution of the indication (rectangular distribution) | #DIV/0! | #DIV/0! | -
| 10 | 13:48 |  |  | 0
480° | 0 | 13:52 |  |  | 0 |  | relative standard uncertainty of mean deflection | #DIV/0! | #DIV/0! | -
| 5 | 13:56 |  |  | 0 |  | relative expanded uncertainty of mean deflection (k=2) | #DIV/0! | #DIV/0! | -
| 10 | 14:00 |  |  | 0
| 0 | 14:04 |  |  | 0 |  | rel. uncertainty due to stability of BN100: 3 ppm, rectangular distr.) | 1.7321e-06 | 1.7321e-06 | -
| 5 | 14:08 |  |  | 0
| 10 | 14:12 |  |  | 0 |  | relative standard uncertainty of mean deflection incl. BN100 stability | #DIV/0! | #DIV/0! | -
540° | 0 | 14:16 |  |  | 0 |  | relative expanded uncertainty of mean deflection (k=2) incl. BN100 stability | #DIV/0! | #DIV/0! | -
| 5 | 14:20 |  |  | 0
| 10 | 14:24 |  |  | 0
| 0 | 14:28 |  |  | 0
| 5 | 14:32 |  |  | 0
| 10 | 14:36 |  |  | 0
600° | 0 | 14:40 |  |  | 0
| 5 | 14:44 |  |  | 0
| 10 | 14:48 |  |  | 0
| 0 | 14:52 |  |  | 0
| 5 | 14:56 |  |  | 0
| 10 | 15:00 |  |  | 0
660° | 0 | 15:04 |  |  | 0
| 5 | 15:08 |  |  | 0
| 10 | 15:12 |  |  | 0
| 0 | 15:16 |  |  | 0
| 5 | 15:20 |  |  | 0
| 10 | 15:24 |  |  | 0
720° | 0 | 15:28 |  |  | 0
| 5 | 15:32 |  |  | 0
| 10 | 15:36 |  |  | 0
| 0 | 15:40 |  |  | 0
| 5 | 15:44 |  |  | 0
| 10 | 15:48 |  |  | 0