## Raw_data
Position | Force |  | Time | DMP 40 reading | Temperature | Deflection | Date | 2021-07-19 |  | Environmental Checks
degrees | N |  | hh:mm | mV/V | ºC | mV/V | Laboratory | INTI |  |  |  | Initial | Final | Variation
0 | 0 |  | 0:00 |  |  |  | Machine Capacity | 1 kN |  | Air pressure / hPa |  | 1004.5 | 1003.4 | -1.1
| 1000 | (preload) | 0:03 |  |  | 0 | Operator | Savarin / Malinovsky |  | Humidity / % RH |  | 65 | 51 | -14
| 0 |  | 0:06 |  |  |  | Time between readings | 3
| 1000 | (preload) | 0:09 |  |  | 0 | DMP 40 | 065120002 |  | Temperature stability
| 0 |  | 0:12 |  |  |  | Filter | 0.22 Hz Bessel |  | Position degrees | Mean Value | Std.dev.
| 1000 | (preload) | 0:15 |  |  | 0 | Bridge Supply | 5 V |  |  | °C | °C
| 0 |  | 0:18 |  |  |  | Measuring Range | +/- 2.5 mV/V |  | 0 | #DIV/0! | #DIV/0!
| 0 |  | 0:21 |  |  |  | Mode | Absolute |  | 90 | #DIV/0! | #DIV/0!
| 200 |  | 0:24 |  |  | 0 | Autocal | OFF |  | 180 | #DIV/0! | #DIV/0!
| 400 |  | 0:27 |  |  | 0 | Transducer | HBM Z30 s/n 123430023 |  | 270 | #DIV/0! | #DIV/0!
| 600 |  | 0:30 |  |  | 0 | Worksheet protected but without password. |  |  |  | #DIV/0! | #DIV/0!
| 800 |  | 0:33 |  |  | 0
| 1000 |  | 0:36 |  |  | 0 | Orientation | Force | Deflection / mV/V |  | Mean | Repeatability
| 800 |  | 0:39 |  |  | 0 | degrees | N | Run 1 | Run 2 | mV/V | 1·10-6
| 600 |  | 0:42 |  |  | 0 | 0 | 200 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 0:45 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 0:48 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 0:51 |  |  | 0 |  | 800 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 0:54 |  |  |  |  | 1000 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 0:57 |  |  | 0 | 0 Reversibility | 800 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 1:00 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 600 |  | 1:03 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 800 |  | 1:06 |  |  | 0 |  | 200 | 0 | 0 | 0 | #DIV/0!
| 1000 |  | 1:09 |  |  | 0 | 90 | 200 | 0
| 800 |  | 1:12 |  |  | 0 |  | 400 | 0
| 600 |  | 1:15 |  |  | 0 |  | 600 | 0
| 400 |  | 1:18 |  |  | 0 |  | 800 | 0
| 200 |  | 1:21 |  |  | 0 |  | 1000 | 0
| 0 |  | 1:24 |  |  | 0 | 180 | 200 | 0
90 | 0 |  | 1:27 |  |  |  |  | 400 | 0
| 1000 | (preload) | 1:30 |  |  | 0 |  | 600 | 0
| 0 |  | 1:33 |  |  |  |  | 800 | 0
| 0 |  | 1:36 |  |  |  |  | 1000 | 0
| 200 |  | 1:39 |  |  | 0 | 270 | 200 | 0
| 400 |  | 1:42 |  |  | 0 |  | 400 | 0
| 600 |  | 1:45 |  |  | 0 |  | 600 | 0
| 800 |  | 1:48 |  |  | 0 |  | 800 | 0
| 1000 |  | 1:51 |  |  | 0 |  | 1000 | 0
| 0 |  | 1:54 |  |  | 0
180 | 0 |  | 1:57 |  |  |  |  | Mean values
| 1000 | (preload) | 2:00 |  |  | 0 |  | Force | Mean | Reproducibility
| 0 |  | 2:03 |  |  |  |  | N | mV/V | 1·10-6
| 0 |  | 2:06 |  |  |  |  | 200 | 0 | 0
| 200 |  | 2:09 |  |  | 0 |  | 400 | 0 | 0
| 400 |  | 2:12 |  |  | 0 |  | 600 | 0 | 0
| 600 |  | 2:15 |  |  | 0 |  | 800 | 0 | 0
| 800 |  | 2:18 |  |  | 0 |  | 1000 | 0 | 0
| 1000 |  | 2:21 |  |  | 0
| 0 |  | 2:24 |  |  | 0 |  | Reversibility
270 | 0 |  | 2:27 |  |  |  |  | Force | Run 1 | Run 2 | Mean
| 1000 | (preload) | 2:30 |  |  | 0 |  | N | mV/V | mV/V | mV/V
| 0 |  | 2:33 |  |  |  |  | 200 | 0 | 0 | 0
| 0 |  | 2:36 |  |  |  |  | 400 | 0 | 0 | 0
| 200 |  | 2:39 |  |  | 0 |  | 600 | 0 | 0 | 0
| 400 |  | 2:42 |  |  | 0 |  | 800 | 0 | 0 | 0
| 600 |  | 2:45 |  |  | 0 |  | 1000 | --- | --- | ---
| 800 |  | 2:48 |  |  | 0
| 1000 |  | 2:51 |  |  | 0
| 0 |  | 2:54 |  |  | 0
| 0 |  | 2:57 |  |  | 0
Note on E9: I preferred to leave this cell so that there is sufficient time to zero return before starting the next measurement run.
Note on J11: A manual auto-calibration is made just after taking the value
Note on N13: This is the standard deviation of all individual values.
Note on E34: I preferred to leave this cell so that there is sufficient time to zero return before starting the next measurement run.
Note on E44: I preferred to leave this cell so that there is sufficient time to zero return before starting the next measurement run.
Note on E54: I preferred to leave this cell so that there is sufficient time to zero return before starting the next measurement run.

## Raw_data_option2-2series
Position | Force |  | Time | DMP 40 reading | Temperature | Deflection | Date | 2021-07-01 |  | Environmental Checks
degrees | N |  | hh:mm | mV/V | ºC | mV/V | Laboratory | INTI |  |  |  | Initial | Final | Variation
0 | 0 |  | 0:00 |  |  |  | Machine Capacity | 1 kN |  | Air pressure / hPa |  | 1004.5 | 1003.4 | -1.1
| 1000 | (preload) | 0:03 |  |  | 0 | Operator |  |  | Humidity / % RH |  | 65 | 51 | -14
| 0 |  | 0:06 |  |  |  | Time between readings | 3
| 1000 | (preload) | 0:09 |  |  | 0 | DMP 40 | 065120002 |  | Temperature stability
| 0 |  | 0:12 |  |  |  | Filter | 0.22 Hz Bessel |  | Position degrees | Mean Value | Std.dev.
| 1000 | (preload) | 0:15 |  |  | 0 | Bridge Supply | 5 V |  |  | °C | °C
| 0 |  | 0:18 |  |  |  | Measuring Range | +/- 2.5 mV/V |  | 0 | #DIV/0! | #DIV/0!
| 0 |  | 0:21 |  |  |  | Mode | Absolute |  | 90 | #DIV/0! | #DIV/0!
| 200 |  | 0:24 |  |  | 0 | Autocal | OFF |  | 180 | #DIV/0! | #DIV/0!
| 400 |  | 0:27 |  |  | 0 | Transducer | HBM Z30 s/n 123430023 |  | 270 | #DIV/0! | #DIV/0!
| 600 |  | 0:30 |  |  | 0 | Worksheet protected but without password. |  |  |  | #DIV/0! | #DIV/0!
| 800 |  | 0:33 |  |  | 0
| 1000 |  | 0:36 |  |  | 0 | Orientation | Force | Deflection / mV/V |  | Mean | Repeatability
| 800 |  | 0:39 |  |  | 0 | degrees | N | Run 1 | Run 2 | mV/V | 1·10-6
| 600 |  | 0:42 |  |  | 0 | 0 | 200 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 0:45 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 0:48 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 0:51 |  |  | 0 |  | 800 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 0:54 |  |  |  |  | 1000 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 0:57 |  |  | 0 | 0 Reversibility | 800 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 1:00 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 600 |  | 1:03 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 800 |  | 1:06 |  |  | 0 |  | 200 | 0 | 0 | 0 | #DIV/0!
| 1000 |  | 1:09 |  |  | 0 | 90 | 200 | 0 | 0 | 0 | #DIV/0!
| 800 |  | 1:12 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 600 |  | 1:15 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 1:18 |  |  | 0 |  | 800 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 1:21 |  |  | 0 |  | 1000 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 1:24 |  |  | 0 | 180 | 200 | 0 | 0 | 0 | #DIV/0!
90 | 0 |  | 1:27 |  |  |  |  | 400 | 0 | 0 | 0 | #DIV/0!
| 1000 | (preload) | 1:30 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 1:33 |  |  |  |  | 800 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 1:36 |  |  |  |  | 1000 | 0 | 0 | 0 | #DIV/0!
| 200 |  | 1:39 |  |  | 0 | 270 | 200 | 0 | 0 | 0 | #DIV/0!
| 400 |  | 1:42 |  |  | 0 |  | 400 | 0 | 0 | 0 | #DIV/0!
| 600 |  | 1:45 |  |  | 0 |  | 600 | 0 | 0 | 0 | #DIV/0!
| 800 |  | 1:48 |  |  | 0 |  | 800 | 0 | 0 | 0 | #DIV/0!
| 1000 |  | 1:51 |  |  | 0 |  | 1000 | 0 | 0 | 0 | #DIV/0!
| 0 |  | 1:54 |  |  | 0
| 0 |  | 1:57 |  |  |  |  | Mean values |  |  |  | Reproducibility
| 200 |  | 2:00 |  |  | 0 |  | Force | Mean Run 1 | Mean Run 2 | Mean | Run 1 | Run 2 | Mean value
| 400 |  | 2:03 |  |  | 0 |  | N | mV/V | mV/V | mV/V | 1·10-6 | 1·10-6 | 1·10-6
| 600 |  | 2:06 |  |  | 0 |  | 200 | 0 | 0 | 0 | 0 | 0 | 0
| 800 |  | 2:09 |  |  | 0 |  | 400 | 0 | 0 | 0 | 0 | 0 | 0
| 1000 |  | 2:12 |  |  | 0 |  | 600 | 0 | 0 | 0 | 0 | 0 | 0
| 0 |  | 2:15 |  |  | 0 |  | 800 | 0 | 0 | 0 | 0 | 0 | 0
180 | 0 |  | 2:18 |  |  |  |  | 1000 | 0 | 0 | 0 | 0 | 0 | 0
| 1000 | (preload) | 2:21 |  |  | 0
| 0 |  | 2:24 |  |  |  |  | Reversibility
| 0 |  | 2:27 |  |  |  |  | Force | Run 1 | Run 2 | Mean
| 200 |  | 2:30 |  |  | 0 |  | N | mV/V | mV/V | mV/V
| 400 |  | 2:33 |  |  | 0 |  | 200 | 0 | 0 | 0
| 600 |  | 2:36 |  |  | 0 |  | 400 | 0 | 0 | 0
| 800 |  | 2:39 |  |  | 0 |  | 600 | 0 | 0 | 0
| 1000 |  | 2:42 |  |  | 0 |  | 800 | 0 | 0 | 0
| 0 |  | 2:45 |  |  | 0 |  | 1000 | --- | --- | ---
| 0 |  | 2:48
| 200 |  | 2:51 |  |  | 0
| 400 |  | 2:54 |  |  | 0
| 600 |  | 2:57 |  |  | 0
| 800 |  | 3:00 |  |  | 0
| 1000 |  | 3:03 |  |  | 0
| 0 |  | 3:06 |  |  | 0
270 | 0 |  | 3:09
| 1000 | (preload) | 3:12 |  |  | 0
| 0 |  | 3:15
| 0 |  | 3:18
| 200 |  | 3:21 |  |  | 0
| 400 |  | 3:24 |  |  | 0
| 600 |  | 3:27 |  |  | 0
| 800 |  | 3:30 |  |  | 0
| 1000 |  | 3:33 |  |  | 0
| 0 |  | 3:36 |  |  | 0
| 0 |  | 3:39
| 200 |  | 3:42 |  |  | 0
| 400 |  | 3:45 |  |  | 0
| 600 |  | 3:48 |  |  | 0
| 800 |  | 3:51 |  |  | 0
| 1000 |  | 3:54 |  |  | 0
| 0 |  | 3:57 |  |  | 0
Note on E9: I preferred to leave this cell so that there is sufficient time to zero return before starting the measurement run.
Note on N13: This is the standard deviation of all individual values.
Note on E34: I preferred to leave this cell so that there is sufficient time to zero return before starting the measurement run.
Note on P43: These formulas should be reviewed. Here a mean value between reproducibility in first and second run in each mounting position is taken.
Note on E51: I preferred to leave this cell so that there is sufficient time to zero return before starting the measurement run.
Note on E68: I preferred to leave this cell so that there is sufficient time to zero return before starting the measurement run.