## Version
Appendix D - SIM.PR-K3.2023
This appendix is provided as Excel Workbook only. Send the Workbook (in Excel format) as draft to the pilot after the first-round measurements. Send the final version after the second-round measurement to the pilot.
v0 | Intial version.
v1 | Lamp type field included.

## LAMP ID
Appendix D - SIM.PR-K3.2023
NMI:
Lamps ID:
Lamp Type:
Operator:
Round #1 | [7 empty] | Standard Uncertainty in Luminous Intensity (k =1)
Measurment Set Number | Date/time | Number o measurements per set | Lamp current (A) | Lamp Voltage (V) | CCT (K) | Uncertainty k =1 CCT (K) | Luminous Intensity (cd) | Uncorrelated (%) | Correlated (%)
Round #2 | [7 empty] | Standard Uncertainty in Luminous Intensity
Measurment Set Number | Date/time | Number o measurements per set | Lamp current (A) | Lamp Voltage (V) | CCT (K) | Uncertainty k =1 CCT (K) | Luminous Intensity (cd) | Uncorrelated (%) | Correlated (%) | Correlation coefficient round #1 and #2
Cells in yellow are calculated.
One sheet per lamp.