## RU
912/RU/24 Ключевое сличение в области измерений силы |  |  | Калибровочное значение Interface CX-0404 перед проведением измерений, мВ/В |  |  |  | Показания измерительного усилителя, мВ/В
Измерения силы в точках 500 кН и 1000 кН
НМИ: |  |  | 0
Дата: |  |  | 0.04
Оператор: |  |  | 0.08
0.2
Транспортируемый эталон: | ОДС-100 |  | 0.4
Серийный номер: | 341672 |  | 0.8
1.2
Измерительный усилитель: | TC 225.2 |  | 1.6
Серийный номер: | 1953 |  | 2
2.4
Силовоспроизводящая машина:
Стандартная неопределенность силовоспроиводящей машины, %: |  |  | Измерения
|  |  | Время | Процедура | Номинальная сила, kN | Показания, мВ/В | Температура, ˚С | Относительная влажность воздуха, % | Атмосферное давление, кПа
|  |  |  | 0˚ обжатие | 0
500
1000
0
500
1000
0
500
1000
|  | Ряд 1 |  | 0˚ измерения | 0
500
1000
|  | Ряд 2 |  | 0˚ измерения | 0
500
1000
|  | Ряд 3 |  | 0˚ измерения | 0
500
1000
|  | Ряд 4 |  | 60˚ обжатие | 0
500
1000
|  |  |  | 60˚ измерения | 0
500
1000
|  | Ряд 5 |  | 120˚ обжатие | 0
500
1000
|  |  |  | 120˚ измерения | 0
500
1000
|  | Ряд 6 |  | 180˚ обжатие | 0
500
1000
|  |  |  | 180˚ измерения | 0
500
1000
|  | Ряд 7 |  | 240˚ обжатие | 0
500
1000
|  |  |  | 240˚ измерения | 0
500
1000
|  | Ряд 8 |  | 300˚ обжатие | 0
500
1000
|  |  |  | 300˚ измерения | 0
500
1000
|  | Ряд 9 |  | 0˚ обжатие | 0
500
1000
|  |  |  | 0˚ измерения | 0
500
1000
|  | Ряд 10 |  | 60˚ обжатие | 0
500
1000
|  |  |  | 60˚ измерения | 0
500
1000
|  | Ряд 11 |  | 120˚ обжатие | 0
500
1000
|  |  |  | 120˚ измерения | 0
500
1000
|  | Ряд 12 |  | 180˚ обжатие | 0
500
1000
|  |  |  | 180˚ измерения | 0
500
1000
|  | Ряд 13 |  | 240˚ обжатие | 0
500
1000
|  |  |  | 240˚ измерения | 0
500
1000
|  | Ряд 14 |  | 300˚ обжатие | 0
500
1000
|  |  |  | 300˚ измерения | 0
500
1000
|  | Ряд 15 |  | 0˚ обжатие | 0
500
1000
|  |  |  | 0˚ измерения | 0
500
1000
|  |  | Калибровочное значение Interface CX-0404 перед проведением измерений, мВ/В |  |  |  | Показания измерительного усилителя, мВ/В
0
0.04
0.08
0.2
0.4
0.8
1.2
1.6
2
2.4

## EN
912/RU/24 Key comparison in the field of force measurement |  |  | Calibration value of Interface CX-0404 before measurements, mV/V |  |  |  | Measuring amplifier readings, mV/V
Force measurements at points 500 kN and 1000 kN
NMI: |  |  | 0
Data: |  |  | 0.04
Operator: |  |  | 0.08
0.2
Transfer standard: | ODS-100 |  | 0.4
Serial number: | 341672 |  | 0.8
1.2
Measuring electronics: | TC 225.2 |  | 1.6
Serial number: | 1953 |  | 2
2.4
Force standard machine:
The standard uncertainty of the force standard machine, %: |  |  | Measurements
|  |  | Time | Procedure | Force, kN | Readings, mV/V | Temperature, ˚С | Relative humidity of the atmosphere, % | Atmospheric pressure, kPa
|  |  |  | 0˚ pre-load | 0
500
1000
0
500
1000
0
500
1000
|  | Series 1 |  | 0˚ measurements | 0
500
1000
|  | Series 2 |  | 0˚ measurements | 0
500
1000
|  | Series 3 |  | 0˚ measurements | 0
500
1000
|  | Series 4 |  | 60˚ pre-load | 0
500
1000
|  |  |  | 60˚ measurements | 0
500
1000
|  | Series 5 |  | 120˚ pre-load | 0
500
1000
|  |  |  | 120˚ measurements | 0
500
1000
|  | Series 6 |  | 180˚ pre-load | 0
500
1000
|  |  |  | 180˚ measurements | 0
500
1000
|  | Series 7 |  | 240˚ pre-load | 0
500
1000
|  |  |  | 240˚ measurements | 0
500
1000
|  | Series 8 |  | 300˚ pre-load | 0
500
1000
|  |  |  | 300˚ measurements | 0
500
1000
|  | Series 9 |  | 0˚ pre-load | 0
500
1000
|  |  |  | 0˚ measurements | 0
500
1000
|  | Series 10 |  | 60˚ pre-load | 0
500
1000
|  |  |  | 60˚ measurements | 0
500
1000
|  | Series 11 |  | 120˚ pre-load | 0
500
1000
|  |  |  | 120˚ measurements | 0
500
1000
|  | Series 12 |  | 180˚ pre-load | 0
500
1000
|  |  |  | 180˚ measurements | 0
500
1000
|  | Series 13 |  | 240˚ pre-load | 0
500
1000
|  |  |  | 240˚ measurements | 0
500
1000
|  | Series 14 |  | 300˚ pre-load | 0
500
1000
|  |  |  | 300˚ measurements | 0
500
1000
|  | Series 15 |  | 0˚ pre-load | 0
500
1000
|  |  |  | 0˚ measurements | 0
500
1000
|  |  | Calibration value of Interface CX-0404 after measurements, mV/V |  |  |  | Measuring amplifier readings, mV/V
0
0.04
0.08
0.2
0.4
0.8
1.2
1.6
2
2.4